## parameters
| version | converged | OPF_converged | name | res_cost
0 | 2.10.1 | FALSE | TRUE |  | 650.3266

## bus
| in_service | max_vm_pu | min_vm_pu | name | type | vn_kv | zone
0 | TRUE | 1.05 | 0.95 | 1 | b | 135 | 1
1 | TRUE | 1.1 | 0.95 | 2 | b | 135 | 1
2 | TRUE | 1.05 | 0.95 | 3 | b | 135 | 1
3 | TRUE | 1.05 | 0.95 | 4 | b | 135 | 1
4 | TRUE | 1.05 | 0.95 | 5 | b | 135 | 1
5 | TRUE | 1.05 | 0.95 | 6 | b | 135 | 1
6 | TRUE | 1.05 | 0.95 | 7 | b | 135 | 1
7 | TRUE | 1.05 | 0.95 | 8 | b | 135 | 1
8 | TRUE | 1.05 | 0.95 | 9 | b | 135 | 1
9 | TRUE | 1.05 | 0.95 | 10 | b | 135 | 3
10 | TRUE | 1.05 | 0.95 | 11 | b | 135 | 1
11 | TRUE | 1.05 | 0.95 | 12 | b | 135 | 2
12 | TRUE | 1.1 | 0.95 | 13 | b | 135 | 2
13 | TRUE | 1.05 | 0.95 | 14 | b | 135 | 2
14 | TRUE | 1.05 | 0.95 | 15 | b | 135 | 2
15 | TRUE | 1.05 | 0.95 | 16 | b | 135 | 2
16 | TRUE | 1.05 | 0.95 | 17 | b | 135 | 2
17 | TRUE | 1.05 | 0.95 | 18 | b | 135 | 2
18 | TRUE | 1.05 | 0.95 | 19 | b | 135 | 2
19 | TRUE | 1.05 | 0.95 | 20 | b | 135 | 2
20 | TRUE | 1.05 | 0.95 | 21 | b | 135 | 3
21 | TRUE | 1.1 | 0.95 | 22 | b | 135 | 3
22 | TRUE | 1.1 | 0.95 | 23 | b | 135 | 2
23 | TRUE | 1.05 | 0.95 | 24 | b | 135 | 3
24 | TRUE | 1.05 | 0.95 | 25 | b | 135 | 3
25 | TRUE | 1.05 | 0.95 | 26 | b | 135 | 3
26 | TRUE | 1.1 | 0.95 | 27 | b | 135 | 3
27 | TRUE | 1.05 | 0.95 | 28 | b | 135 | 1
28 | TRUE | 1.05 | 0.95 | 29 | b | 135 | 3
29 | TRUE | 1.05 | 0.95 | 30 | b | 135 | 3

## load
| bus | const_i_percent | const_z_percent | controllable | in_service | name | q_mvar | scaling | sn_mva | type | p_mw
0 | 1 | 0 | 0 | FALSE | TRUE |  | 12.7 | 1 |  |  | 15.8126
1 | 2 | 0 | 0 | FALSE | TRUE |  | 1.2 | 1 |  |  | 1.9026
2 | 3 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 7.6
3 | 6 | 0 | 0 | FALSE | TRUE |  | 10.9 | 1 |  |  | 22.8
4 | 7 | 0 | 0 | FALSE | TRUE |  | 30 | 1 |  |  | 30
5 | 9 | 0 | 0 | FALSE | TRUE |  | 2 | 1 |  |  | 5.8
6 | 11 | 0 | 0 | FALSE | TRUE |  | 7.5 | 1 |  |  | 9.3674
7 | 13 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 4.219
8 | 14 | 0 | 0 | FALSE | TRUE |  | 2.5 | 1 |  |  | 8.8072
9 | 15 | 0 | 0 | FALSE | TRUE |  | 1.8 | 1 |  |  | 2.6383
10 | 16 | 0 | 0 | FALSE | TRUE |  | 5.8 | 1 |  |  | 7.8972
11 | 17 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 3.2
12 | 18 | 0 | 0 | FALSE | TRUE |  | 3.4 | 1 |  |  | 8.925
13 | 19 | 0 | 0 | FALSE | TRUE |  | 0.7 | 1 |  |  | 2.2
14 | 20 | 0 | 0 | FALSE | TRUE |  | 11.2 | 1 |  |  | 17.5
15 | 22 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 3.0284
16 | 23 | 0 | 0 | FALSE | TRUE |  | 6.7 | 1 |  |  | 6.094
17 | 25 | 0 | 0 | FALSE | TRUE |  | 2.3 | 1 |  |  | 3.5
18 | 28 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 2.3696
19 | 29 | 0 | 0 | FALSE | TRUE |  | 1.9 | 1 |  |  | 10.6

## gen
| bus | controllable | in_service | name | scaling | sn_mva | type | vm_pu | slack | max_p_mw | max_q_mvar | min_q_mvar | slack_weight | p_mw | min_p_mw
0 | 1 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 80 | 60 | -20 | 0 | 16 | 16
1 | 21 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 50 | 62.5 | -15 | 0 | 10 | 10
2 | 26 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 55 | 48.7 | -15 | 0 | 11 | 11
3 | 22 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 30 | 40 | -10 | 0 | 6 | 6
4 | 12 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 40 | 44.7 | -15 | 0 | 8 | 8

## shunt
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service
0 | 4 |  | -0.19 | 0 | 135 | 1 | 1 | TRUE
1 | 23 |  | -0.04 | 0 | 135 | 1 | 1 | TRUE

## ext_grid
| bus | in_service | name | va_degree | vm_pu | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar | slack_weight
0 | 0 | TRUE |  | 0 | 1 | 80 | 0 | 150 | -20 | 1

## line
| c_nf_per_km | df | from_bus | g_us_per_km | in_service | length_km | max_i_ka | name | parallel | r_ohm_per_km | std_type | to_bus | type | x_ohm_per_km | max_loading_percent
0 | 436.6391 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 3.645 |  | 1 | ol | 10.935 | 100
1 | 291.0927 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 2 | ol | 34.6275 | 100
2 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 3 | ol | 30.9825 | 100
3 | 0 | 1 | 2 | 0 | TRUE | 1 | 0.55597 |  | 1 | 1.8225 |  | 3 | ol | 7.29 | 100
4 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 4 | ol | 36.45 | 100
5 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 5 | ol | 32.805 | 100
6 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.3849 |  | 1 | 1.8225 |  | 5 | ol | 7.29 | 100
7 | 145.5464 | 1 | 4 | 0 | TRUE | 1 | 0.29937 |  | 1 | 9.1125 |  | 6 | ol | 21.87 | 100
8 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.55597 |  | 1 | 5.4675 |  | 6 | ol | 14.58 | 100
9 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 7 | ol | 7.29 | 121
10 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 8 | ol | 38.2725 | 100
11 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 0 |  | 9 | ol | 102.06 | 100
12 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 10 | ol | 38.2725 | 100
13 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 9 | ol | 20.0475 | 100
14 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 11 | ol | 47.385 | 100
15 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 12 | ol | 25.515 | 100
16 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 21.87 |  | 13 | ol | 47.385 | 100
17 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 14 | ol | 23.6925 | 100
18 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 15 | ol | 36.45 | 100
19 | 0 | 1 | 13 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 14 | ol | 36.45 | 100
20 | 0 | 1 | 15 | 0 | TRUE | 1 | 0.068427 |  | 1 | 14.58 |  | 16 | ol | 34.6275 | 100
21 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 17 | ol | 40.095 | 100
22 | 0 | 1 | 17 | 0 | TRUE | 1 | 0.068427 |  | 1 | 10.935 |  | 18 | ol | 23.6925 | 100
23 | 0 | 1 | 18 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 19 | ol | 12.7575 | 100
24 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 19 | ol | 38.2725 | 100
25 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 16 | ol | 14.58 | 100
26 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 20 | ol | 12.7575 | 100
27 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 21 | ol | 27.3375 | 100
28 | 0 | 1 | 20 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 21 | ol | 3.645 | 100
29 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 18.225 |  | 22 | ol | 36.45 | 100
30 | 0 | 1 | 21 | 0 | TRUE | 1 | 0.068427 |  | 1 | 21.87 |  | 23 | ol | 32.805 | 100
31 | 0 | 1 | 22 | 0 | TRUE | 1 | 0.068427 |  | 1 | 23.6925 |  | 23 | ol | 49.2075 | 100
32 | 0 | 1 | 23 | 0 | TRUE | 1 | 0.068427 |  | 1 | 34.6275 |  | 24 | ol | 60.1425 | 100
33 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 45.5625 |  | 25 | ol | 69.255 | 100
34 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 26 | ol | 38.2725 | 100
35 | 0 | 1 | 27 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 26 | ol | 72.9 | 100
36 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 28 | ol | 76.545 | 100
37 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 58.32 |  | 29 | ol | 109.35 | 100
38 | 0 | 1 | 28 | 0 | TRUE | 1 | 0.068427 |  | 1 | 43.74 |  | 29 | ol | 82.0125 | 100
39 | 291.0927 | 1 | 7 | 0 | TRUE | 1 | 0.13685 |  | 1 | 10.935 |  | 27 | ol | 36.45 | 100
40 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 3.645 |  | 27 | ol | 10.935 | 100

## poly_cost
| element | et | cp0_eur | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 | cp1_eur_per_mw | cp2_eur_per_mw2
0 | 0 | ext_grid | 0 | 0 | 0 | 0 | 2 | 0.02
1 | 0 | gen | 0 | 0 | 0 | 0 | 1.4 | 0.014
2 | 1 | gen | 0 | 0 | 0 | 0 | 8 | 0.5
3 | 2 | gen | 0 | 0 | 0 | 0 | 1.625 | 0.00417
4 | 3 | gen | 0 | 0 | 0 | 0 | 2.7 | 0.0225
5 | 4 | gen | 0 | 0 | 0 | 0 | 18 | 0.15

## bus_geodata
| x | y | coords
0 | -1.7275 | -3.1893
1 | -0.56202 | -3.3149
10 | 1.0121 | -1.7415
11 | -0.24837 | -5.7012
12 | -1.3515 | -6.3649
13 | -0.13927 | -6.7357
14 | 0.80418 | -6.4263
15 | -0.9243 | -5.4724
16 | 0.22957 | -4.9094
17 | 1.0937 | -7.4732
18 | 1.8575 | -6.8558
19 | 1.4966 | -5.5567
2 | -1.5906 | -4.1442
20 | 1.8818 | -4.6687
21 | 2.4069 | -4.3993
22 | 2.2749 | -6.1619
23 | 3.117 | -5.1466
24 | 3.7246 | -4.0371
25 | 4.8299 | -4.2705
26 | 3.1039 | -2.8673
27 | 1.8534 | -2.8489
28 | 4.0378 | -2.2835
29 | 3.4709 | -1.7453
3 | -0.37269 | -4.2829
4 | -1.0538 | -2.2394
5 | 0.53091 | -3.4333
6 | -0.067379 | -2.3919
7 | 1.0669 | -2.4312
8 | 1.1038 | -3.1875
9 | 1.1627 | -4.2978

## line_std_types
| type | r_ohm_per_km | q_mm2 | x_ohm_per_km | c_nf_per_km | max_i_ka
NAYY 4x150 SE | cs | 0.208 | 150 | 0.08 | 261 | 0.27
70-AL1/11-ST1A 20.0 | ol | 0.4132 | 70 | 0.36 | 9.7 | 0.29
NA2XS2Y 1x70 RM/25 6/10 kV | cs | 0.443 | 70 | 0.123 | 280 | 0.217
N2XS(FL)2Y 1x300 RM/35 64/110 kV | cs | 0.06 | 300 | 0.144 | 144 | 0.588
NA2XS2Y 1x120 RM/25 6/10 kV | cs | 0.253 | 120 | 0.113 | 340 | 0.28
149-AL1/24-ST1A 10.0 | ol | 0.194 | 149 | 0.315 | 11.25 | 0.47
15-AL1/3-ST1A 0.4 | ol | 1.8769 | 16 | 0.35 | 11 | 0.105
NA2XS2Y 1x185 RM/25 6/10 kV | cs | 0.161 | 185 | 0.11 | 406 | 0.358
NA2XS2Y 1x240 RM/25 6/10 kV | cs | 0.122 | 240 | 0.105 | 456 | 0.416
N2XS(FL)2Y 1x240 RM/35 64/110 kV | cs | 0.075 | 240 | 0.149 | 135 | 0.526
NAYY 4x120 SE | cs | 0.225 | 120 | 0.08 | 264 | 0.242
48-AL1/8-ST1A 10.0 | ol | 0.5939 | 48 | 0.35 | 10.1 | 0.21
94-AL1/15-ST1A 10.0 | ol | 0.306 | 94 | 0.33 | 10.75 | 0.35
NA2XS2Y 1x70 RM/25 12/20 kV | cs | 0.443 | 70 | 0.132 | 190 | 0.22
243-AL1/39-ST1A 20.0 | ol | 0.1188 | 243 | 0.32 | 11 | 0.645
NA2XS2Y 1x150 RM/25 6/10 kV | cs | 0.206 | 150 | 0.11 | 360 | 0.315
184-AL1/30-ST1A 110.0 | ol | 0.1571 | 184 | 0.4 | 8.8 | 0.535
149-AL1/24-ST1A 110.0 | ol | 0.194 | 149 | 0.41 | 8.75 | 0.47
NA2XS2Y 1x240 RM/25 12/20 kV | cs | 0.122 | 240 | 0.112 | 304 | 0.421
122-AL1/20-ST1A 20.0 | ol | 0.2376 | 122 | 0.344 | 10.3 | 0.41
48-AL1/8-ST1A 20.0 | ol | 0.5939 | 48 | 0.372 | 9.5 | 0.21
34-AL1/6-ST1A 10.0 | ol | 0.8342 | 34 | 0.36 | 9.7 | 0.17
24-AL1/4-ST1A 0.4 | ol | 1.2012 | 24 | 0.335 | 11.25 | 0.14
184-AL1/30-ST1A 20.0 | ol | 0.1571 | 184 | 0.33 | 10.75 | 0.535
94-AL1/15-ST1A 20.0 | ol | 0.306 | 94 | 0.35 | 10 | 0.35
NAYY 4x50 SE | cs | 0.642 | 50 | 0.083 | 210 | 0.142
490-AL1/64-ST1A 380.0 | ol | 0.059 | 490 | 0.253 | 11 | 0.96
48-AL1/8-ST1A 0.4 | ol | 0.5939 | 48 | 0.3 | 12.2 | 0.21
NA2XS2Y 1x95 RM/25 6/10 kV | cs | 0.313 | 95 | 0.123 | 315 | 0.249
NA2XS2Y 1x120 RM/25 12/20 kV | cs | 0.253 | 120 | 0.119 | 230 | 0.283
34-AL1/6-ST1A 20.0 | ol | 0.8342 | 34 | 0.382 | 9.15 | 0.17
94-AL1/15-ST1A 0.4 | ol | 0.306 | 94 | 0.29 | 13.2 | 0.35
NA2XS2Y 1x185 RM/25 12/20 kV | cs | 0.161 | 185 | 0.117 | 273 | 0.362
NA2XS2Y 1x150 RM/25 12/20 kV | cs | 0.206 | 150 | 0.116 | 250 | 0.319
243-AL1/39-ST1A 110.0 | ol | 0.1188 | 243 | 0.39 | 9 | 0.645
490-AL1/64-ST1A 220.0 | ol | 0.059 | 490 | 0.285 | 10 | 0.96
N2XS(FL)2Y 1x185 RM/35 64/110 kV | cs | 0.099 | 185 | 0.156 | 125 | 0.457
N2XS(FL)2Y 1x120 RM/35 64/110 kV | cs | 0.153 | 120 | 0.166 | 112 | 0.366
NA2XS2Y 1x95 RM/25 12/20 kV | cs | 0.313 | 95 | 0.132 | 216 | 0.252
122-AL1/20-ST1A 10.0 | ol | 0.2376 | 122 | 0.323 | 11.1 | 0.41
149-AL1/24-ST1A 20.0 | ol | 0.194 | 149 | 0.337 | 10.5 | 0.47
70-AL1/11-ST1A 10.0 | ol | 0.4132 | 70 | 0.339 | 10.4 | 0.29
305-AL1/39-ST1A 110.0 | ol | 0.0949 | 305 | 0.38 | 9.2 | 0.74

## trafo_std_types
| shift_degree | vector_group | vn_hv_kv | pfe_kw | i0_percent | vn_lv_kv | sn_mva | tap_step_degree | tap_neutral | tap_min | vkr_percent | tap_step_percent | tap_side | tap_phase_shifter | tap_max | vk_percent
0.4 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.35 | 0.3375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.425 | 2.5 | hv | FALSE | 2 | 6
63 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 33 | 0.086 | 20 | 63 | 0 | 0 | -9 | 0.322 | 1.5 | hv | FALSE | 9 | 11.2
63 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 31.51 | 0.078 | 10 | 63 | 0 | 0 | -9 | 0.31 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 29 | 0.071 | 20 | 25 | 0 | 0 | -9 | 0.282 | 1.5 | hv | FALSE | 9 | 11.2
40 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 31 | 0.08 | 20 | 40 | 0 | 0 | -9 | 0.302 | 1.5 | hv | FALSE | 9 | 11.2
0.25 MVA 20/0.4 kV | 150 | Yzn5 | 20 | 0.8 | 0.32 | 0.4 | 0.25 | 0 | 0 | -2 | 1.44 | 2.5 | hv | FALSE | 2 | 6
25 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 28.51 | 0.073 | 10 | 25 | 0 | 0 | -9 | 0.276 | 1.5 | hv | FALSE | 9 | 10.04
0.25 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.6 | 0.24 | 0.4 | 0.25 | 0 | 0 | -2 | 1.2 | 2.5 | hv | FALSE | 2 | 4
160 MVA 380/110 kV | 0 | Yy0 | 380 | 60 | 0.06 | 110 | 160 | 0 | 0 | -9 | 0.25 | 1.5 | hv | FALSE | 9 | 12.2
63 MVA 110/10 kV | 150 | YNd5 | 110 | 22 | 0.04 | 10 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
0.63 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.65 | 0.2619 | 0.4 | 0.63 | 0 | 0 | -2 | 1.206 | 2.5 | hv | FALSE | 2 | 6
0.4 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.95 | 0.2375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.325 | 2.5 | hv | FALSE | 2 | 4
0.63 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 1.18 | 0.1873 | 0.4 | 0.63 | 0 | 0 | -2 | 1.0794 | 2.5 | hv | FALSE | 2 | 4
63 MVA 110/20 kV | 150 | YNd5 | 110 | 22 | 0.04 | 20 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
100 MVA 220/110 kV | 0 | Yy0 | 220 | 55 | 0.06 | 110 | 100 | 0 | 0 | -9 | 0.26 | 1.5 | hv | FALSE | 9 | 12
25 MVA 110/10 kV | 150 | YNd5 | 110 | 14 | 0.07 | 10 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/20 kV | 150 | YNd5 | 110 | 18 | 0.05 | 20 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2
40 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 30.45 | 0.076 | 10 | 40 | 0 | 0 | -9 | 0.295 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV | 150 | YNd5 | 110 | 14 | 0.07 | 20 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/10 kV | 150 | YNd5 | 110 | 18 | 0.05 | 10 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2

## trafo3w_std_types
| vector_group | vn_mv_kv | vn_lv_kv | shift_lv_degree | shift_mv_degree | pfe_kw | vn_hv_kv | i0_percent | sn_lv_mva | sn_hv_mva | sn_mv_mva | vkr_lv_percent | tap_neutral | tap_min | vk_mv_percent | vkr_hv_percent | vk_lv_percent | tap_max | vkr_mv_percent | tap_step_percent | tap_side | vk_hv_percent
63/25/38 MVA 110/10/10 kV | YN0yn0yn0 | 10 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4
63/25/38 MVA 110/20/10 kV | YN0yn0yn0 | 20 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4

## res_bus
| vm_pu | va_degree | p_mw | q_mvar | lam_p | lam_q
0 | 1 | 0 | -27.9785 | 19.9992 | 3.1191 | -0.0067083
1 | 1.0062 | -0.49338 | -46.0427 | -7.8266 | 3.1319 | 2.6125e-09
2 | 0.99905 | -2.0813 | 1.9026 | 1.2 | 3.2056 | 0.0065807
3 | 0.99938 | -2.4758 | 7.6 | 1.6 | 3.222 | 0.0086804
4 | 0.99641 | -2.1039 | 0 | -0.18864 | 3.1742 | 0.020085
5 | 0.99462 | -2.7589 | 0 | 0 | 3.2021 | 0.029253
6 | 0.986 | -3.0283 | 22.8 | 10.9 | 3.2206 | 0.038477
7 | 0.98313 | -3.1464 | 30 | 30 | 3.1961 | 0.052145
8 | 1.0147 | -3.9688 | 0 | 0 | 3.4358 | 0.061717
9 | 1.0253 | -4.5836 | 5.8 | 2 | 3.555 | 0.074423
10 | 1.0147 | -3.9688 | 0 | 0 | 3.4358 | 0.061717
11 | 1.0441 | -4.3817 | 9.3674 | 7.5 | 3.4558 | 0.024906
12 | 1.1 | -3.823 | -8 | -43.9615 | 3.4555 | 6.1088e-06
13 | 1.0327 | -4.6295 | 4.219 | 1.6 | 3.5289 | 0.039803
14 | 1.0321 | -4.3489 | 8.8072 | 2.5 | 3.5558 | 0.032158
15 | 1.0297 | -4.676 | 2.6383 | 1.8 | 3.5149 | 0.058061
16 | 1.0217 | -4.7824 | 7.8972 | 5.8 | 3.5556 | 0.078646
17 | 1.0175 | -5.1125 | 3.2 | 0.9 | 3.6066 | 0.065812
18 | 1.0124 | -5.3789 | 8.925 | 3.4 | 3.6208 | 0.080418
19 | 1.0148 | -5.2336 | 2.2 | 0.7 | 3.6078 | 0.080241
20 | 1.0343 | -4.8083 | 17.5 | 11.2 | 3.6353 | 0.024579
21 | 1.0407 | -4.755 | -10 | -45.7694 | 3.6461 | 2.411e-07
22 | 1.0392 | -2.6555 | -17.7412 | 2.1642 | 3.6346 | -4.393e-07
23 | 1.0323 | -3.0871 | 6.094 | 6.6574 | 3.9022 | -0.058362
24 | 1.039 | -0.31568 | 0 | 0 | 4.6555 | -0.27558
25 | 1.0219 | -0.7231 | 3.5 | 2.3 | 4.7273 | -0.22762
26 | 1.0519 | 1.6403 | -48.769 | -15.3458 | 2.0317 | -1.5248e-08
27 | 1.001 | -2.4608 | 0 | 0 | 3.0585 | 0.065016
28 | 1.0326 | 0.47266 | 2.3696 | 0.9 | 2.0838 | 0.014507
29 | 1.0215 | -0.35016 | 10.6 | 1.9 | 2.1199 | 0.020429

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 9.9107 | -15.09 | -9.8541 | 12.2411 | 0.056582 | -2.8489 | 0.077209 | 0.066791 | 0.077209 | 1 | 0 | 1.0062 | -0.49338 | 13.8874
1 | 18.0678 | -4.9092 | -17.8969 | 3.5604 | 0.17086 | -1.3488 | 0.080071 | 0.078113 | 0.080071 | 1 | 0 | 0.99905 | -2.0813 | 14.4022
2 | 19.575 | -3.5259 | -19.3442 | 2.1687 | 0.23082 | -1.3572 | 0.084538 | 0.083299 | 0.084538 | 1.0062 | -0.49338 | 0.99938 | -2.4758 | 30.4112
3 | 15.9943 | -4.7604 | -15.9664 | 4.872 | 0.027901 | 0.1116 | 0.071435 | 0.071435 | 0.071435 | 0.99905 | -2.0813 | 0.99938 | -2.4758 | 12.8488
4 | 14.4672 | 0.49805 | -14.3627 | -2.0854 | 0.10449 | -1.5873 | 0.061526 | 0.062292 | 0.062292 | 1.0062 | -0.49338 | 0.99641 | -2.1039 | 11.2043
5 | 21.8546 | -1.3866 | -21.5715 | 0.23423 | 0.28313 | -1.1523 | 0.093075 | 0.092758 | 0.093075 | 1.0062 | -0.49338 | 0.99462 | -2.7589 | 33.4822
6 | 14.3627 | 8.3255 | -14.3351 | -8.2151 | 0.027594 | 0.11038 | 0.071042 | 0.071042 | 0.071042 | 0.99938 | -2.4758 | 0.99462 | -2.7589 | 18.4572
7 | 14.3627 | 2.274 | -14.2549 | -2.9979 | 0.10775 | -0.7239 | 0.062414 | 0.063182 | 0.063182 | 0.99641 | -2.1039 | 0.986 | -3.0283 | 21.1052
8 | 8.5846 | 7.0267 | -8.5451 | -7.9021 | 0.039503 | -0.87539 | 0.0477 | 0.050482 | 0.050482 | 0.99462 | -2.7589 | 0.986 | -3.0283 | 9.0801
9 | 22.2979 | 23.0565 | -22.1939 | -22.6405 | 0.10399 | 0.41598 | 0.13791 | 0.13791 | 0.13791 | 0.99462 | -2.7589 | 0.98313 | -3.1464 | 100.7757
10 | 10.1476 | -9.3836 | -10.1476 | 9.7891 | -1.7764e-15 | 0.4055 | 0.059428 | 0.059428 | 0.059428 | 0.99462 | -2.7589 | 1.0147 | -3.9688 | 21.3783
11 | 5.7986 | -5.3621 | -5.7986 | 5.7152 | 0 | 0.35309 | 0.033959 | 0.033959 | 0.033959 | 0.99462 | -2.7589 | 1.0253 | -4.5836 | 24.8141
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0147 | -3.9688 | 1.0147 | -3.9688 | 0
13 | 10.1476 | -9.7891 | -10.1476 | 10.0015 | 0 | 0.21241 | 0.059428 | 0.059428 | 0.059428 | 1.0147 | -3.9688 | 1.0253 | -4.5836 | 21.3783
14 | 13.3479 | -16.9662 | -13.3479 | 18.1793 | 3.5527e-15 | 1.2131 | 0.092379 | 0.092379 | 0.092379 | 0.99938 | -2.4758 | 1.0441 | -4.3817 | 33.232
15 | -8 | -41.6514 | 8 | 43.9615 | 0 | 2.3101 | 0.17372 | 0.17372 | 0.17372 | 1.0441 | -4.3817 | 1.1 | -3.823 | 62.4945
16 | 3.2203 | 3.0921 | -3.1983 | -3.0445 | 0.021939 | 0.047535 | 0.018286 | 0.018286 | 0.018286 | 1.0441 | -4.3817 | 1.0327 | -4.6295 | 13.362
17 | 3.6556 | 7.6712 | -3.6093 | -7.5851 | 0.046368 | 0.086112 | 0.034807 | 0.034807 | 0.034807 | 1.0441 | -4.3817 | 1.0321 | -4.3489 | 25.4338
18 | 5.1046 | 5.2088 | -5.0607 | -5.1112 | 0.043912 | 0.097581 | 0.029873 | 0.029873 | 0.029873 | 1.0441 | -4.3817 | 1.0297 | -4.676 | 21.8282
19 | -1.0207 | 1.4445 | 1.0271 | -1.4387 | 0.0064536 | 0.0058669 | 0.0073248 | 0.0073248 | 0.0073248 | 1.0327 | -4.6295 | 1.0321 | -4.3489 | 10.7046
20 | 2.4224 | 3.3112 | -2.4097 | -3.2811 | 0.012699 | 0.030161 | 0.017039 | 0.017039 | 0.017039 | 1.0297 | -4.676 | 1.0217 | -4.7824 | 24.9016
21 | 7.8361 | 2.9488 | -7.7637 | -2.804 | 0.072388 | 0.14478 | 0.034693 | 0.034693 | 0.034693 | 1.0321 | -4.3489 | 1.0175 | -5.1125 | 50.7009
22 | 4.5637 | 1.904 | -4.5495 | -1.8733 | 0.01417 | 0.030701 | 0.020783 | 0.020783 | 0.020783 | 1.0175 | -5.1125 | 1.0124 | -5.3789 | 30.3727
23 | -4.3755 | -1.5267 | 4.3818 | 1.5414 | 0.0062856 | 0.014666 | 0.019576 | 0.019576 | 0.019576 | 1.0124 | -5.3789 | 1.0148 | -5.2336 | 14.3041
24 | 6.6241 | 2.34 | -6.5818 | -2.2414 | 0.042251 | 0.098585 | 0.029302 | 0.029302 | 0.029302 | 1.0253 | -4.5836 | 1.0148 | -5.2336 | 21.4114
25 | 5.4979 | 2.5469 | -5.4874 | -2.5189 | 0.010477 | 0.027938 | 0.025273 | 0.025273 | 0.025273 | 1.0253 | -4.5836 | 1.0217 | -4.7824 | 18.4671
26 | 0.2913 | -13.185 | -0.24166 | 13.3008 | 0.049632 | 0.11581 | 0.055008 | 0.055008 | 0.055008 | 1.0253 | -4.5836 | 1.0343 | -4.8083 | 40.1949
27 | -2.2672 | -9.4185 | 2.3296 | 9.5524 | 0.062488 | 0.1339 | 0.040407 | 0.040407 | 0.040407 | 1.0253 | -4.5836 | 1.0407 | -4.755 | 29.5256
28 | -17.2583 | -24.5008 | 17.3423 | 24.6687 | 0.083963 | 0.16793 | 0.12392 | 0.12392 | 0.12392 | 1.0343 | -4.8083 | 1.0407 | -4.755 | 90.551
29 | -14.0611 | 3.575 | 14.2587 | -3.1798 | 0.19761 | 0.39522 | 0.060118 | 0.060118 | 0.060118 | 1.0321 | -4.3489 | 1.0392 | -2.6555 | 87.8581
30 | -9.6719 | 11.5482 | 9.9234 | -11.1711 | 0.25142 | 0.37714 | 0.061904 | 0.061904 | 0.061904 | 1.0407 | -4.755 | 1.0323 | -3.0871 | 90.4676
31 | 3.4824 | 1.0156 | -3.4666 | -0.98275 | 0.015839 | 0.032896 | 0.014928 | 0.014928 | 0.014928 | 1.0392 | -2.6555 | 1.0323 | -3.0871 | 21.8158
32 | -12.5508 | 5.4964 | 12.8855 | -4.915 | 0.33473 | 0.58138 | 0.056765 | 0.056765 | 0.056765 | 1.0323 | -3.0871 | 1.039 | -0.31568 | 82.9567
33 | 3.542 | 2.3638 | -3.5 | -2.3 | 0.041992 | 0.063828 | 0.017527 | 0.017527 | 0.017527 | 1.039 | -0.31568 | 1.0219 | -0.7231 | 25.6149
34 | -16.4275 | 2.5512 | 16.7091 | -2.0136 | 0.2816 | 0.5376 | 0.068427 | 0.068427 | 0.068427 | 1.039 | -0.31568 | 1.0519 | 1.6403 | 100
35 | -18.825 | -12.0635 | 18.825 | 14.0593 | 3.5527e-15 | 1.9957 | 0.095528 | 0.095528 | 0.095528 | 1.001 | -2.4608 | 1.0519 | 1.6403 | 34.3645
36 | 6.1385 | 1.6575 | -6.0581 | -1.5041 | 0.080385 | 0.15346 | 0.025851 | 0.025851 | 0.025851 | 1.0519 | 1.6403 | 1.0326 | 0.47266 | 37.7796
37 | 7.0964 | 1.6426 | -6.943 | -1.3549 | 0.15345 | 0.28772 | 0.029615 | 0.029615 | 0.029615 | 1.0519 | 1.6403 | 1.0215 | -0.35016 | 43.2803
38 | 3.6885 | 0.60405 | -3.657 | -0.5451 | 0.031442 | 0.058953 | 0.015479 | 0.015479 | 0.015479 | 1.0326 | 0.47266 | 1.0215 | -0.35016 | 22.6218
39 | -7.8061 | -7.3595 | 7.8693 | 5.6017 | 0.063197 | -1.7578 | 0.046669 | 0.04127 | 0.046669 | 0.98313 | -3.1464 | 1.001 | -2.4608 | 34.1013
40 | -10.922 | -7.3566 | 10.9557 | 6.4619 | 0.033636 | -0.8947 | 0.056622 | 0.054344 | 0.056622 | 0.99462 | -2.7589 | 1.001 | -2.4608 | 41.374

## res_ext_grid
| p_mw | q_mvar
0 | 27.9785 | -19.9992

## res_load
| p_mw | q_mvar
0 | 15.8126 | 12.7
1 | 1.9026 | 1.2
2 | 7.6 | 1.6
3 | 22.8 | 10.9
4 | 30 | 30
5 | 5.8 | 2
6 | 9.3674 | 7.5
7 | 4.219 | 1.6
8 | 8.8072 | 2.5
9 | 2.6383 | 1.8
10 | 7.8972 | 5.8
11 | 3.2 | 0.9
12 | 8.925 | 3.4
13 | 2.2 | 0.7
14 | 17.5 | 11.2
15 | 3.0284 | 1.6
16 | 6.094 | 6.7
17 | 3.5 | 2.3
18 | 2.3696 | 0.9
19 | 10.6 | 1.9

## res_shunt
| p_mw | q_mvar | vm_pu
0 | 0 | -0.18864 | 0.99641
1 | 0 | -0.042624 | 1.0323

## res_gen
| p_mw | q_mvar | va_degree | vm_pu
0 | 61.8553 | 20.5266 | -0.49338 | 1.0062
1 | 10 | 45.7694 | -4.755 | 1.0407
2 | 48.769 | 15.3458 | 1.6403 | 1.0519
3 | 20.7695 | -0.56415 | -2.6555 | 1.0392
4 | 8 | 43.9615 | -3.823 | 1.1

## dtypes
| element | column | dtype
0 | bus | in_service | bool
1 | bus | max_vm_pu | float64
2 | bus | min_vm_pu | float64
3 | bus | name | object
4 | bus | type | object
5 | bus | vn_kv | float64
6 | bus | zone | object
7 | load | bus | uint32
8 | load | const_i_percent | float64
9 | load | const_z_percent | float64
10 | load | controllable | bool
11 | load | in_service | bool
12 | load | name | object
13 | load | q_mvar | float64
14 | load | scaling | float64
15 | load | sn_mva | float64
16 | load | type | object
17 | load | p_mw | float64
18 | gen | bus | uint32
19 | gen | controllable | bool
20 | gen | in_service | bool
21 | gen | name | object
22 | gen | scaling | float64
23 | gen | sn_mva | float64
24 | gen | type | object
25 | gen | vm_pu | float64
26 | gen | slack | bool
27 | gen | max_p_mw | float64
28 | gen | max_q_mvar | float64
29 | gen | min_q_mvar | float64
30 | gen | slack_weight | float64
31 | gen | p_mw | float64
32 | gen | min_p_mw | float64
33 | shunt | bus | uint32
34 | shunt | name | object
35 | shunt | q_mvar | float64
36 | shunt | p_mw | float64
37 | shunt | vn_kv | float64
38 | shunt | step | uint32
39 | shunt | max_step | uint32
40 | shunt | in_service | bool
41 | ext_grid | bus | uint32
42 | ext_grid | in_service | bool
43 | ext_grid | name | object
44 | ext_grid | va_degree | float64
45 | ext_grid | vm_pu | float64
46 | ext_grid | max_p_mw | float64
47 | ext_grid | min_p_mw | float64
48 | ext_grid | max_q_mvar | float64
49 | ext_grid | min_q_mvar | float64
50 | ext_grid | slack_weight | float64
51 | line | c_nf_per_km | float64
52 | line | df | float64
53 | line | from_bus | uint32
54 | line | g_us_per_km | float64
55 | line | in_service | bool
56 | line | length_km | float64
57 | line | max_i_ka | float64
58 | line | name | object
59 | line | parallel | uint32
60 | line | r_ohm_per_km | float64
61 | line | std_type | object
62 | line | to_bus | uint32
63 | line | type | object
64 | line | x_ohm_per_km | float64
65 | line | max_loading_percent | float64
66 | poly_cost | element | uint32
67 | poly_cost | et | object
68 | poly_cost | cp0_eur | float64
69 | poly_cost | cq0_eur | float64
70 | poly_cost | cq1_eur_per_mvar | float64
71 | poly_cost | cq2_eur_per_mvar2 | float64
72 | poly_cost | cp1_eur_per_mw | float64
73 | poly_cost | cp2_eur_per_mw2 | float64
74 | bus_geodata | x | float64
75 | bus_geodata | y | float64
76 | bus_geodata | coords | object
77 | res_bus | vm_pu | float64
78 | res_bus | va_degree | float64
79 | res_bus | p_mw | float64
80 | res_bus | q_mvar | float64
81 | res_bus | lam_p | float64
82 | res_bus | lam_q | float64
83 | res_line | p_from_mw | float64
84 | res_line | q_from_mvar | float64
85 | res_line | p_to_mw | float64
86 | res_line | q_to_mvar | float64
87 | res_line | pl_mw | float64
88 | res_line | ql_mvar | float64
89 | res_line | i_from_ka | float64
90 | res_line | i_to_ka | float64
91 | res_line | i_ka | float64
92 | res_line | vm_from_pu | float64
93 | res_line | va_from_degree | float64
94 | res_line | vm_to_pu | float64
95 | res_line | va_to_degree | float64
96 | res_line | loading_percent | float64
97 | res_ext_grid | p_mw | float64
98 | res_ext_grid | q_mvar | float64
99 | res_load | p_mw | float64
100 | res_load | q_mvar | float64
101 | res_shunt | p_mw | float64
102 | res_shunt | q_mvar | float64
103 | res_shunt | vm_pu | float64
104 | res_gen | p_mw | float64
105 | res_gen | q_mvar | float64
106 | res_gen | va_degree | float64
107 | res_gen | vm_pu | float64