## parameters
| version | converged | OPF_converged | name | res_cost
0 | 2.10.1 | FALSE | TRUE |  | 681.908

## bus
| in_service | max_vm_pu | min_vm_pu | name | type | vn_kv | zone
0 | TRUE | 1.05 | 0.95 | 1 | b | 135 | 1
1 | TRUE | 1.1 | 0.95 | 2 | b | 135 | 1
2 | TRUE | 1.05 | 0.95 | 3 | b | 135 | 1
3 | TRUE | 1.05 | 0.95 | 4 | b | 135 | 1
4 | TRUE | 1.05 | 0.95 | 5 | b | 135 | 1
5 | TRUE | 1.05 | 0.95 | 6 | b | 135 | 1
6 | TRUE | 1.05 | 0.95 | 7 | b | 135 | 1
7 | TRUE | 1.05 | 0.95 | 8 | b | 135 | 1
8 | TRUE | 1.05 | 0.95 | 9 | b | 135 | 1
9 | TRUE | 1.05 | 0.95 | 10 | b | 135 | 3
10 | TRUE | 1.05 | 0.95 | 11 | b | 135 | 1
11 | TRUE | 1.05 | 0.95 | 12 | b | 135 | 2
12 | TRUE | 1.1 | 0.95 | 13 | b | 135 | 2
13 | TRUE | 1.05 | 0.95 | 14 | b | 135 | 2
14 | TRUE | 1.05 | 0.95 | 15 | b | 135 | 2
15 | TRUE | 1.05 | 0.95 | 16 | b | 135 | 2
16 | TRUE | 1.05 | 0.95 | 17 | b | 135 | 2
17 | TRUE | 1.05 | 0.95 | 18 | b | 135 | 2
18 | TRUE | 1.05 | 0.95 | 19 | b | 135 | 2
19 | TRUE | 1.05 | 0.95 | 20 | b | 135 | 2
20 | TRUE | 1.05 | 0.95 | 21 | b | 135 | 3
21 | TRUE | 1.1 | 0.95 | 22 | b | 135 | 3
22 | TRUE | 1.1 | 0.95 | 23 | b | 135 | 2
23 | TRUE | 1.05 | 0.95 | 24 | b | 135 | 3
24 | TRUE | 1.05 | 0.95 | 25 | b | 135 | 3
25 | TRUE | 1.05 | 0.95 | 26 | b | 135 | 3
26 | TRUE | 1.1 | 0.95 | 27 | b | 135 | 3
27 | TRUE | 1.05 | 0.95 | 28 | b | 135 | 1
28 | TRUE | 1.05 | 0.95 | 29 | b | 135 | 3
29 | TRUE | 1.05 | 0.95 | 30 | b | 135 | 3

## load
| bus | const_i_percent | const_z_percent | controllable | in_service | name | q_mvar | scaling | sn_mva | type | p_mw
0 | 1 | 0 | 0 | FALSE | TRUE |  | 12.7 | 1 |  |  | 19.2631
1 | 2 | 0 | 0 | FALSE | TRUE |  | 1.2 | 1 |  |  | 2.4
2 | 3 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 7.6
3 | 6 | 0 | 0 | FALSE | TRUE |  | 10.9 | 1 |  |  | 22.8
4 | 7 | 0 | 0 | FALSE | TRUE |  | 30 | 1 |  |  | 25.9493
5 | 9 | 0 | 0 | FALSE | TRUE |  | 2 | 1 |  |  | 5.8
6 | 11 | 0 | 0 | FALSE | TRUE |  | 7.5 | 1 |  |  | 11.0793
7 | 13 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 6.2
8 | 14 | 0 | 0 | FALSE | TRUE |  | 2.5 | 1 |  |  | 8.9356
9 | 15 | 0 | 0 | FALSE | TRUE |  | 1.8 | 1 |  |  | 3.8553
10 | 16 | 0 | 0 | FALSE | TRUE |  | 5.8 | 1 |  |  | 9
11 | 17 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 4.0206
12 | 18 | 0 | 0 | FALSE | TRUE |  | 3.4 | 1 |  |  | 9.5
13 | 19 | 0 | 0 | FALSE | TRUE |  | 0.7 | 1 |  |  | 2.2
14 | 20 | 0 | 0 | FALSE | TRUE |  | 11.2 | 1 |  |  | 15.8194
15 | 22 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 3.0747
16 | 23 | 0 | 0 | FALSE | TRUE |  | 6.7 | 1 |  |  | 8.7
17 | 25 | 0 | 0 | FALSE | TRUE |  | 2.3 | 1 |  |  | 3.7899
18 | 28 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 2.4
19 | 29 | 0 | 0 | FALSE | TRUE |  | 1.9 | 1 |  |  | 10.1455

## gen
| bus | controllable | in_service | name | scaling | sn_mva | type | vm_pu | slack | max_p_mw | max_q_mvar | min_q_mvar | slack_weight | p_mw | min_p_mw
0 | 1 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 80 | 60 | -20 | 0 | 16 | 16
1 | 21 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 50 | 62.5 | -15 | 0 | 10 | 10
2 | 26 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 55 | 48.7 | -15 | 0 | 11 | 11
3 | 22 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 30 | 40 | -10 | 0 | 6 | 6
4 | 12 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 40 | 44.7 | -15 | 0 | 8 | 8

## shunt
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service
0 | 4 |  | -0.19 | 0 | 135 | 1 | 1 | TRUE
1 | 23 |  | -0.04 | 0 | 135 | 1 | 1 | TRUE

## ext_grid
| bus | in_service | name | va_degree | vm_pu | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar | slack_weight
0 | 0 | TRUE |  | 0 | 1 | 80 | 0 | 150 | -20 | 1

## line
| c_nf_per_km | df | from_bus | g_us_per_km | in_service | length_km | max_i_ka | name | parallel | r_ohm_per_km | std_type | to_bus | type | x_ohm_per_km | max_loading_percent
0 | 436.6391 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 3.645 |  | 1 | ol | 10.935 | 100
1 | 291.0927 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 2 | ol | 34.6275 | 100
2 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 3 | ol | 30.9825 | 100
3 | 0 | 1 | 2 | 0 | TRUE | 1 | 0.55597 |  | 1 | 1.8225 |  | 3 | ol | 7.29 | 100
4 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 4 | ol | 36.45 | 100
5 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 5 | ol | 32.805 | 100
6 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.3849 |  | 1 | 1.8225 |  | 5 | ol | 7.29 | 100
7 | 145.5464 | 1 | 4 | 0 | TRUE | 1 | 0.29937 |  | 1 | 9.1125 |  | 6 | ol | 21.87 | 100
8 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.55597 |  | 1 | 5.4675 |  | 6 | ol | 14.58 | 100
9 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 7 | ol | 7.29 | 121
10 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 8 | ol | 38.2725 | 100
11 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 0 |  | 9 | ol | 102.06 | 100
12 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 10 | ol | 38.2725 | 100
13 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 9 | ol | 20.0475 | 100
14 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 11 | ol | 47.385 | 100
15 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 12 | ol | 25.515 | 100
16 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 21.87 |  | 13 | ol | 47.385 | 100
17 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 14 | ol | 23.6925 | 100
18 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 15 | ol | 36.45 | 100
19 | 0 | 1 | 13 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 14 | ol | 36.45 | 100
20 | 0 | 1 | 15 | 0 | TRUE | 1 | 0.068427 |  | 1 | 14.58 |  | 16 | ol | 34.6275 | 100
21 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 17 | ol | 40.095 | 100
22 | 0 | 1 | 17 | 0 | TRUE | 1 | 0.068427 |  | 1 | 10.935 |  | 18 | ol | 23.6925 | 100
23 | 0 | 1 | 18 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 19 | ol | 12.7575 | 100
24 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 19 | ol | 38.2725 | 100
25 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 16 | ol | 14.58 | 100
26 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 20 | ol | 12.7575 | 100
27 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 21 | ol | 27.3375 | 100
28 | 0 | 1 | 20 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 21 | ol | 3.645 | 100
29 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 18.225 |  | 22 | ol | 36.45 | 100
30 | 0 | 1 | 21 | 0 | TRUE | 1 | 0.068427 |  | 1 | 21.87 |  | 23 | ol | 32.805 | 100
31 | 0 | 1 | 22 | 0 | TRUE | 1 | 0.068427 |  | 1 | 23.6925 |  | 23 | ol | 49.2075 | 100
32 | 0 | 1 | 23 | 0 | TRUE | 1 | 0.068427 |  | 1 | 34.6275 |  | 24 | ol | 60.1425 | 100
33 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 45.5625 |  | 25 | ol | 69.255 | 100
34 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 26 | ol | 38.2725 | 100
35 | 0 | 1 | 27 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 26 | ol | 72.9 | 100
36 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 28 | ol | 76.545 | 100
37 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 58.32 |  | 29 | ol | 109.35 | 100
38 | 0 | 1 | 28 | 0 | TRUE | 1 | 0.068427 |  | 1 | 43.74 |  | 29 | ol | 82.0125 | 100
39 | 291.0927 | 1 | 7 | 0 | TRUE | 1 | 0.13685 |  | 1 | 10.935 |  | 27 | ol | 36.45 | 100
40 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 3.645 |  | 27 | ol | 10.935 | 100

## poly_cost
| element | et | cp0_eur | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 | cp1_eur_per_mw | cp2_eur_per_mw2
0 | 0 | ext_grid | 0 | 0 | 0 | 0 | 2 | 0.02
1 | 0 | gen | 0 | 0 | 0 | 0 | 1.4 | 0.014
2 | 1 | gen | 0 | 0 | 0 | 0 | 8 | 0.5
3 | 2 | gen | 0 | 0 | 0 | 0 | 1.625 | 0.00417
4 | 3 | gen | 0 | 0 | 0 | 0 | 2.7 | 0.0225
5 | 4 | gen | 0 | 0 | 0 | 0 | 18 | 0.15

## bus_geodata
| x | y | coords
0 | -1.7275 | -3.1893
1 | -0.56202 | -3.3149
10 | 1.0121 | -1.7415
11 | -0.24837 | -5.7012
12 | -1.3515 | -6.3649
13 | -0.13927 | -6.7357
14 | 0.80418 | -6.4263
15 | -0.9243 | -5.4724
16 | 0.22957 | -4.9094
17 | 1.0937 | -7.4732
18 | 1.8575 | -6.8558
19 | 1.4966 | -5.5567
2 | -1.5906 | -4.1442
20 | 1.8818 | -4.6687
21 | 2.4069 | -4.3993
22 | 2.2749 | -6.1619
23 | 3.117 | -5.1466
24 | 3.7246 | -4.0371
25 | 4.8299 | -4.2705
26 | 3.1039 | -2.8673
27 | 1.8534 | -2.8489
28 | 4.0378 | -2.2835
29 | 3.4709 | -1.7453
3 | -0.37269 | -4.2829
4 | -1.0538 | -2.2394
5 | 0.53091 | -3.4333
6 | -0.067379 | -2.3919
7 | 1.0669 | -2.4312
8 | 1.1038 | -3.1875
9 | 1.1627 | -4.2978

## line_std_types
| type | r_ohm_per_km | q_mm2 | x_ohm_per_km | c_nf_per_km | max_i_ka
NAYY 4x150 SE | cs | 0.208 | 150 | 0.08 | 261 | 0.27
70-AL1/11-ST1A 20.0 | ol | 0.4132 | 70 | 0.36 | 9.7 | 0.29
NA2XS2Y 1x70 RM/25 6/10 kV | cs | 0.443 | 70 | 0.123 | 280 | 0.217
N2XS(FL)2Y 1x300 RM/35 64/110 kV | cs | 0.06 | 300 | 0.144 | 144 | 0.588
NA2XS2Y 1x120 RM/25 6/10 kV | cs | 0.253 | 120 | 0.113 | 340 | 0.28
149-AL1/24-ST1A 10.0 | ol | 0.194 | 149 | 0.315 | 11.25 | 0.47
15-AL1/3-ST1A 0.4 | ol | 1.8769 | 16 | 0.35 | 11 | 0.105
NA2XS2Y 1x185 RM/25 6/10 kV | cs | 0.161 | 185 | 0.11 | 406 | 0.358
NA2XS2Y 1x240 RM/25 6/10 kV | cs | 0.122 | 240 | 0.105 | 456 | 0.416
N2XS(FL)2Y 1x240 RM/35 64/110 kV | cs | 0.075 | 240 | 0.149 | 135 | 0.526
NAYY 4x120 SE | cs | 0.225 | 120 | 0.08 | 264 | 0.242
48-AL1/8-ST1A 10.0 | ol | 0.5939 | 48 | 0.35 | 10.1 | 0.21
94-AL1/15-ST1A 10.0 | ol | 0.306 | 94 | 0.33 | 10.75 | 0.35
NA2XS2Y 1x70 RM/25 12/20 kV | cs | 0.443 | 70 | 0.132 | 190 | 0.22
243-AL1/39-ST1A 20.0 | ol | 0.1188 | 243 | 0.32 | 11 | 0.645
NA2XS2Y 1x150 RM/25 6/10 kV | cs | 0.206 | 150 | 0.11 | 360 | 0.315
184-AL1/30-ST1A 110.0 | ol | 0.1571 | 184 | 0.4 | 8.8 | 0.535
149-AL1/24-ST1A 110.0 | ol | 0.194 | 149 | 0.41 | 8.75 | 0.47
NA2XS2Y 1x240 RM/25 12/20 kV | cs | 0.122 | 240 | 0.112 | 304 | 0.421
122-AL1/20-ST1A 20.0 | ol | 0.2376 | 122 | 0.344 | 10.3 | 0.41
48-AL1/8-ST1A 20.0 | ol | 0.5939 | 48 | 0.372 | 9.5 | 0.21
34-AL1/6-ST1A 10.0 | ol | 0.8342 | 34 | 0.36 | 9.7 | 0.17
24-AL1/4-ST1A 0.4 | ol | 1.2012 | 24 | 0.335 | 11.25 | 0.14
184-AL1/30-ST1A 20.0 | ol | 0.1571 | 184 | 0.33 | 10.75 | 0.535
94-AL1/15-ST1A 20.0 | ol | 0.306 | 94 | 0.35 | 10 | 0.35
NAYY 4x50 SE | cs | 0.642 | 50 | 0.083 | 210 | 0.142
490-AL1/64-ST1A 380.0 | ol | 0.059 | 490 | 0.253 | 11 | 0.96
48-AL1/8-ST1A 0.4 | ol | 0.5939 | 48 | 0.3 | 12.2 | 0.21
NA2XS2Y 1x95 RM/25 6/10 kV | cs | 0.313 | 95 | 0.123 | 315 | 0.249
NA2XS2Y 1x120 RM/25 12/20 kV | cs | 0.253 | 120 | 0.119 | 230 | 0.283
34-AL1/6-ST1A 20.0 | ol | 0.8342 | 34 | 0.382 | 9.15 | 0.17
94-AL1/15-ST1A 0.4 | ol | 0.306 | 94 | 0.29 | 13.2 | 0.35
NA2XS2Y 1x185 RM/25 12/20 kV | cs | 0.161 | 185 | 0.117 | 273 | 0.362
NA2XS2Y 1x150 RM/25 12/20 kV | cs | 0.206 | 150 | 0.116 | 250 | 0.319
243-AL1/39-ST1A 110.0 | ol | 0.1188 | 243 | 0.39 | 9 | 0.645
490-AL1/64-ST1A 220.0 | ol | 0.059 | 490 | 0.285 | 10 | 0.96
N2XS(FL)2Y 1x185 RM/35 64/110 kV | cs | 0.099 | 185 | 0.156 | 125 | 0.457
N2XS(FL)2Y 1x120 RM/35 64/110 kV | cs | 0.153 | 120 | 0.166 | 112 | 0.366
NA2XS2Y 1x95 RM/25 12/20 kV | cs | 0.313 | 95 | 0.132 | 216 | 0.252
122-AL1/20-ST1A 10.0 | ol | 0.2376 | 122 | 0.323 | 11.1 | 0.41
149-AL1/24-ST1A 20.0 | ol | 0.194 | 149 | 0.337 | 10.5 | 0.47
70-AL1/11-ST1A 10.0 | ol | 0.4132 | 70 | 0.339 | 10.4 | 0.29
305-AL1/39-ST1A 110.0 | ol | 0.0949 | 305 | 0.38 | 9.2 | 0.74

## trafo_std_types
| shift_degree | vector_group | vn_hv_kv | pfe_kw | i0_percent | vn_lv_kv | sn_mva | tap_step_degree | tap_neutral | tap_min | vkr_percent | tap_step_percent | tap_side | tap_phase_shifter | tap_max | vk_percent
0.4 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.35 | 0.3375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.425 | 2.5 | hv | FALSE | 2 | 6
63 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 33 | 0.086 | 20 | 63 | 0 | 0 | -9 | 0.322 | 1.5 | hv | FALSE | 9 | 11.2
63 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 31.51 | 0.078 | 10 | 63 | 0 | 0 | -9 | 0.31 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 29 | 0.071 | 20 | 25 | 0 | 0 | -9 | 0.282 | 1.5 | hv | FALSE | 9 | 11.2
40 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 31 | 0.08 | 20 | 40 | 0 | 0 | -9 | 0.302 | 1.5 | hv | FALSE | 9 | 11.2
0.25 MVA 20/0.4 kV | 150 | Yzn5 | 20 | 0.8 | 0.32 | 0.4 | 0.25 | 0 | 0 | -2 | 1.44 | 2.5 | hv | FALSE | 2 | 6
25 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 28.51 | 0.073 | 10 | 25 | 0 | 0 | -9 | 0.276 | 1.5 | hv | FALSE | 9 | 10.04
0.25 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.6 | 0.24 | 0.4 | 0.25 | 0 | 0 | -2 | 1.2 | 2.5 | hv | FALSE | 2 | 4
160 MVA 380/110 kV | 0 | Yy0 | 380 | 60 | 0.06 | 110 | 160 | 0 | 0 | -9 | 0.25 | 1.5 | hv | FALSE | 9 | 12.2
63 MVA 110/10 kV | 150 | YNd5 | 110 | 22 | 0.04 | 10 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
0.63 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.65 | 0.2619 | 0.4 | 0.63 | 0 | 0 | -2 | 1.206 | 2.5 | hv | FALSE | 2 | 6
0.4 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.95 | 0.2375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.325 | 2.5 | hv | FALSE | 2 | 4
0.63 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 1.18 | 0.1873 | 0.4 | 0.63 | 0 | 0 | -2 | 1.0794 | 2.5 | hv | FALSE | 2 | 4
63 MVA 110/20 kV | 150 | YNd5 | 110 | 22 | 0.04 | 20 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
100 MVA 220/110 kV | 0 | Yy0 | 220 | 55 | 0.06 | 110 | 100 | 0 | 0 | -9 | 0.26 | 1.5 | hv | FALSE | 9 | 12
25 MVA 110/10 kV | 150 | YNd5 | 110 | 14 | 0.07 | 10 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/20 kV | 150 | YNd5 | 110 | 18 | 0.05 | 20 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2
40 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 30.45 | 0.076 | 10 | 40 | 0 | 0 | -9 | 0.295 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV | 150 | YNd5 | 110 | 14 | 0.07 | 20 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/10 kV | 150 | YNd5 | 110 | 18 | 0.05 | 10 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2

## trafo3w_std_types
| vector_group | vn_mv_kv | vn_lv_kv | shift_lv_degree | shift_mv_degree | pfe_kw | vn_hv_kv | i0_percent | sn_lv_mva | sn_hv_mva | sn_mv_mva | vkr_lv_percent | tap_neutral | tap_min | vk_mv_percent | vkr_hv_percent | vk_lv_percent | tap_max | vkr_mv_percent | tap_step_percent | tap_side | vk_hv_percent
63/25/38 MVA 110/10/10 kV | YN0yn0yn0 | 10 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4
63/25/38 MVA 110/20/10 kV | YN0yn0yn0 | 20 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4

## res_bus
| vm_pu | va_degree | p_mw | q_mvar | lam_p | lam_q
0 | 1 | 0 | -30.874 | 19.9991 | 3.235 | -0.0085714
1 | 1.0059 | -0.54723 | -46.8146 | -7.586 | 3.2502 | 8.4438e-09
2 | 0.99842 | -2.2273 | 2.4 | 1.2 | 3.3315 | 0.0073258
3 | 0.9987 | -2.6413 | 7.6 | 1.6 | 3.3496 | 0.0098377
4 | 0.99606 | -2.204 | 0 | -0.18851 | 3.2946 | 0.021676
5 | 0.99414 | -2.907 | 0 | 0 | 3.3251 | 0.031845
6 | 0.98555 | -3.1577 | 22.8 | 10.9 | 3.3438 | 0.041196
7 | 0.98297 | -3.2214 | 25.9493 | 30 | 3.3147 | 0.055993
8 | 1.015 | -4.3071 | 0 | 0 | 3.5857 | 0.068213
9 | 1.0262 | -5.0175 | 5.8 | 2 | 3.7185 | 0.081786
10 | 1.015 | -4.3071 | 0 | 0 | 3.5857 | 0.068213
11 | 1.0436 | -4.9388 | 11.0793 | 7.5 | 3.6171 | 0.029249
12 | 1.1 | -4.3798 | -8 | -44.3454 | 3.6168 | 8.4054e-05
13 | 1.0306 | -5.3031 | 6.2 | 1.6 | 3.7093 | 0.044755
14 | 1.0318 | -4.8838 | 8.9356 | 2.5 | 3.7274 | 0.03487
15 | 1.0291 | -5.2771 | 3.8553 | 1.8 | 3.6833 | 0.06424
16 | 1.0219 | -5.2998 | 9 | 5.8 | 3.7228 | 0.086068
17 | 1.0168 | -5.7082 | 4.0206 | 0.9 | 3.7841 | 0.071256
18 | 1.012 | -5.9515 | 9.5 | 3.4 | 3.7969 | 0.08717
19 | 1.0147 | -5.771 | 2.2 | 0.7 | 3.7809 | 0.087273
20 | 1.0356 | -5.2372 | 15.8194 | 11.2 | 3.8065 | 0.026687
21 | 1.042 | -5.2011 | -10 | -46.9699 | 3.8201 | 3.2385e-07
22 | 1.0404 | -2.9669 | -21.4001 | 2.4725 | 3.8014 | -7.7341e-07
23 | 1.0318 | -3.6441 | 8.7 | 6.6574 | 4.1199 | -0.070156
24 | 1.0377 | -0.91706 | 0 | 0 | 4.9804 | -0.32536
25 | 1.0198 | -1.3855 | 3.7899 | 2.3 | 5.0632 | -0.27419
26 | 1.0504 | 1.0451 | -46.3612 | -14.8738 | 2.0117 | -2.8667e-08
27 | 1.0003 | -2.6425 | 0 | 0 | 3.166 | 0.071814
28 | 1.0315 | -0.089159 | 2.4 | 0.9 | 2.0619 | 0.014218
29 | 1.0209 | -0.86594 | 10.1455 | 1.9 | 2.0957 | 0.020017

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 11.4718 | -15.1219 | -11.4084 | 12.2943 | 0.063432 | -2.8275 | 0.081175 | 0.071306 | 0.081175 | 1 | 0 | 1.0059 | -0.54723 | 14.6007
1 | 19.4022 | -4.8772 | -19.2065 | 3.6242 | 0.19574 | -1.253 | 0.085558 | 0.083721 | 0.085558 | 1 | 0 | 0.99842 | -2.2273 | 15.3891
2 | 20.6682 | -3.6342 | -20.4108 | 2.3541 | 0.25737 | -1.2801 | 0.089218 | 0.087984 | 0.089218 | 1.0059 | -0.54723 | 0.9987 | -2.6413 | 32.0948
3 | 16.8065 | -4.8242 | -16.7758 | 4.9469 | 0.03067 | 0.12268 | 0.074896 | 0.074896 | 0.074896 | 0.99842 | -2.2273 | 0.9987 | -2.6413 | 13.4714
4 | 14.8495 | 0.44752 | -14.7395 | -2.0115 | 0.11001 | -1.564 | 0.063161 | 0.063872 | 0.063872 | 1.0059 | -0.54723 | 0.99606 | -2.204 | 11.4885
5 | 22.7053 | -1.5216 | -22.3994 | 0.43894 | 0.30584 | -1.0827 | 0.096748 | 0.096378 | 0.096748 | 1.0059 | -0.54723 | 0.99414 | -2.907 | 34.8034
6 | 13.5168 | 8.029 | -13.492 | -7.9299 | 0.024781 | 0.099126 | 0.067324 | 0.067324 | 0.067324 | 0.9987 | -2.6413 | 0.99414 | -2.907 | 17.4912
7 | 14.7395 | 2.2 | -14.6264 | -2.9102 | 0.11315 | -0.71016 | 0.063987 | 0.064713 | 0.064713 | 0.99606 | -2.204 | 0.98555 | -3.1577 | 21.6168
8 | 8.2117 | 7.1114 | -8.1736 | -7.9898 | 0.038028 | -0.8784 | 0.046731 | 0.049599 | 0.049599 | 0.99414 | -2.907 | 0.98555 | -3.1577 | 8.9213
9 | 19.1525 | 22.9937 | -19.0619 | -22.6313 | 0.090612 | 0.36245 | 0.12874 | 0.12874 | 0.12874 | 0.99414 | -2.907 | 0.98297 | -3.2214 | 94.0683
10 | 11.7403 | -9.741 | -11.7403 | 10.2355 | 0 | 0.4945 | 0.065626 | 0.065626 | 0.065626 | 0.99414 | -2.907 | 1.015 | -4.3071 | 23.608
11 | 6.7087 | -5.5663 | -6.7087 | 5.9969 | 1.7764e-15 | 0.43058 | 0.037501 | 0.037501 | 0.037501 | 0.99414 | -2.907 | 1.0262 | -5.0175 | 27.4021
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.015 | -4.3071 | 1.015 | -4.3071 | 0
13 | 11.7403 | -10.2355 | -11.7403 | 10.4945 | -1.7764e-15 | 0.25902 | 0.065626 | 0.065626 | 0.065626 | 1.015 | -4.3071 | 1.0262 | -5.0175 | 23.608
14 | 16.0698 | -16.93 | -16.0698 | 18.3503 | -3.5527e-15 | 1.4203 | 0.099958 | 0.099958 | 0.099958 | 0.9987 | -2.6413 | 1.0436 | -4.9388 | 35.9582
15 | -8 | -41.996 | 8 | 44.3454 | 0 | 2.3494 | 0.17519 | 0.17519 | 0.17519 | 1.0436 | -4.9388 | 1.1 | -4.3798 | 63.0227
16 | 4.1657 | 3.3273 | -4.1344 | -3.2595 | 0.031318 | 0.067856 | 0.021848 | 0.021848 | 0.021848 | 1.0436 | -4.9388 | 1.0306 | -5.3031 | 15.9645
17 | 3.3515 | 7.7022 | -3.3062 | -7.6179 | 0.045348 | 0.084217 | 0.034422 | 0.034422 | 0.034422 | 1.0436 | -4.9388 | 1.0318 | -4.8838 | 25.1524
18 | 5.4733 | 5.1162 | -5.4269 | -5.0131 | 0.046385 | 0.10308 | 0.030702 | 0.030702 | 0.030702 | 1.0436 | -4.9388 | 1.0291 | -5.2771 | 22.4345
19 | -2.0656 | 1.6595 | 2.0801 | -1.6462 | 0.014543 | 0.013221 | 0.010996 | 0.010996 | 0.010996 | 1.0306 | -5.3031 | 1.0318 | -4.8838 | 16.0693
20 | 1.5716 | 3.2131 | -1.5619 | -3.1901 | 0.0096643 | 0.022953 | 0.014864 | 0.014864 | 0.014864 | 1.0291 | -5.2771 | 1.0219 | -5.2998 | 21.723
21 | 8.3125 | 2.9017 | -8.2324 | -2.7415 | 0.080099 | 0.1602 | 0.036494 | 0.036494 | 0.036494 | 1.0318 | -4.8838 | 1.0168 | -5.7082 | 53.333
22 | 4.2118 | 1.8415 | -4.1995 | -1.815 | 0.012262 | 0.026568 | 0.019334 | 0.019334 | 0.019334 | 1.0168 | -5.7082 | 1.012 | -5.9515 | 28.2544
23 | -5.3005 | -1.585 | 5.3095 | 1.606 | 0.0089659 | 0.02092 | 0.02338 | 0.02338 | 0.02338 | 1.012 | -5.9515 | 1.0147 | -5.771 | 17.0839
24 | 7.5634 | 2.4318 | -7.5095 | -2.306 | 0.053945 | 0.12587 | 0.03311 | 0.03311 | 0.03311 | 1.0262 | -5.0175 | 1.0147 | -5.771 | 24.1937
25 | 7.4559 | 2.6575 | -7.4381 | -2.6099 | 0.017849 | 0.047597 | 0.032988 | 0.032988 | 0.032988 | 1.0262 | -5.0175 | 1.0219 | -5.2998 | 24.1043
26 | -0.093405 | -13.8053 | 0.1477 | 13.932 | 0.054298 | 0.12669 | 0.057535 | 0.057535 | 0.057535 | 1.0262 | -5.0175 | 1.0356 | -5.2372 | 42.0417
27 | -2.2769 | -9.7754 | 2.3439 | 9.9189 | 0.066967 | 0.1435 | 0.04183 | 0.04183 | 0.04183 | 1.0262 | -5.0175 | 1.042 | -5.2011 | 30.5654
28 | -15.9671 | -25.132 | 16.0498 | 25.2973 | 0.08266 | 0.16532 | 0.12296 | 0.12296 | 0.12296 | 1.0356 | -5.2372 | 1.042 | -5.2011 | 89.8457
29 | -16.022 | 3.8625 | 16.2772 | -3.3522 | 0.25515 | 0.51031 | 0.068314 | 0.068314 | 0.068314 | 1.0318 | -4.8838 | 1.0404 | -2.9669 | 99.8347
30 | -8.3937 | 11.7537 | 8.6242 | -11.4079 | 0.23053 | 0.3458 | 0.059277 | 0.059277 | 0.059277 | 1.042 | -5.2011 | 1.0318 | -3.6441 | 86.6279
31 | 5.1229 | 0.87973 | -5.0905 | -0.81234 | 0.03245 | 0.067396 | 0.021367 | 0.021367 | 0.021367 | 1.0404 | -2.9669 | 1.0318 | -3.6441 | 31.2258
32 | -12.2337 | 5.5628 | 12.5561 | -5.0029 | 0.32234 | 0.55986 | 0.055704 | 0.055704 | 0.055704 | 1.0318 | -3.6441 | 1.0377 | -0.91706 | 81.4071
33 | 3.8372 | 2.3718 | -3.7899 | -2.3 | 0.047245 | 0.071813 | 0.018592 | 0.018592 | 0.018592 | 1.0377 | -0.91706 | 1.0198 | -1.3855 | 27.17
34 | -16.3932 | 2.6311 | 16.6748 | -2.0935 | 0.2816 | 0.5376 | 0.068427 | 0.068427 | 0.068427 | 1.0377 | -0.91706 | 1.0504 | 1.0451 | 100
35 | -16.8934 | -11.9855 | 16.8934 | 13.7007 | 3.5527e-15 | 1.7153 | 0.088561 | 0.088561 | 0.088561 | 1.0003 | -2.6425 | 1.0504 | 1.0451 | 31.8584
36 | 5.9673 | 1.6431 | -5.8909 | -1.4973 | 0.076391 | 0.14584 | 0.025201 | 0.025201 | 0.025201 | 1.0504 | 1.0451 | 1.0315 | -0.089159 | 36.8289
37 | 6.8256 | 1.6235 | -6.6828 | -1.3558 | 0.14278 | 0.26771 | 0.028567 | 0.028567 | 0.028567 | 1.0504 | 1.0451 | 1.0209 | -0.86594 | 41.7479
38 | 3.4909 | 0.59727 | -3.4626 | -0.54422 | 0.028293 | 0.05305 | 0.014684 | 0.014684 | 0.014684 | 1.0315 | -0.089159 | 1.0209 | -0.86594 | 21.4593
39 | -6.8875 | -7.3687 | 6.9424 | 5.585 | 0.054912 | -1.7837 | 0.043883 | 0.038096 | 0.043883 | 0.98297 | -3.2214 | 1.0003 | -2.6425 | 32.066
40 | -9.9217 | -7.3069 | 9.951 | 6.4004 | 0.029313 | -0.90647 | 0.053008 | 0.050587 | 0.053008 | 0.99414 | -2.907 | 1.0003 | -2.6425 | 38.7332

## res_ext_grid
| p_mw | q_mvar
0 | 30.874 | -19.9991

## res_load
| p_mw | q_mvar
0 | 19.2631 | 12.7
1 | 2.4 | 1.2
2 | 7.6 | 1.6
3 | 22.8 | 10.9
4 | 25.9493 | 30
5 | 5.8 | 2
6 | 11.0793 | 7.5
7 | 6.2 | 1.6
8 | 8.9356 | 2.5
9 | 3.8553 | 1.8
10 | 9 | 5.8
11 | 4.0206 | 0.9
12 | 9.5 | 3.4
13 | 2.2 | 0.7
14 | 15.8194 | 11.2
15 | 3.0747 | 1.6
16 | 8.7 | 6.7
17 | 3.7899 | 2.3
18 | 2.4 | 0.9
19 | 10.1455 | 1.9

## res_shunt
| p_mw | q_mvar | vm_pu
0 | 0 | -0.18851 | 0.99606
1 | 0 | -0.042583 | 1.0318

## res_gen
| p_mw | q_mvar | va_degree | vm_pu
0 | 66.0777 | 20.286 | -0.54723 | 1.0059
1 | 10 | 46.9699 | -5.2011 | 1.042
2 | 46.3612 | 14.8738 | 1.0451 | 1.0504
3 | 24.4748 | -0.8725 | -2.9669 | 1.0404
4 | 8 | 44.3454 | -4.3798 | 1.1

## dtypes
| element | column | dtype
0 | bus | in_service | bool
1 | bus | max_vm_pu | float64
2 | bus | min_vm_pu | float64
3 | bus | name | object
4 | bus | type | object
5 | bus | vn_kv | float64
6 | bus | zone | object
7 | load | bus | uint32
8 | load | const_i_percent | float64
9 | load | const_z_percent | float64
10 | load | controllable | bool
11 | load | in_service | bool
12 | load | name | object
13 | load | q_mvar | float64
14 | load | scaling | float64
15 | load | sn_mva | float64
16 | load | type | object
17 | load | p_mw | float64
18 | gen | bus | uint32
19 | gen | controllable | bool
20 | gen | in_service | bool
21 | gen | name | object
22 | gen | scaling | float64
23 | gen | sn_mva | float64
24 | gen | type | object
25 | gen | vm_pu | float64
26 | gen | slack | bool
27 | gen | max_p_mw | float64
28 | gen | max_q_mvar | float64
29 | gen | min_q_mvar | float64
30 | gen | slack_weight | float64
31 | gen | p_mw | float64
32 | gen | min_p_mw | float64
33 | shunt | bus | uint32
34 | shunt | name | object
35 | shunt | q_mvar | float64
36 | shunt | p_mw | float64
37 | shunt | vn_kv | float64
38 | shunt | step | uint32
39 | shunt | max_step | uint32
40 | shunt | in_service | bool
41 | ext_grid | bus | uint32
42 | ext_grid | in_service | bool
43 | ext_grid | name | object
44 | ext_grid | va_degree | float64
45 | ext_grid | vm_pu | float64
46 | ext_grid | max_p_mw | float64
47 | ext_grid | min_p_mw | float64
48 | ext_grid | max_q_mvar | float64
49 | ext_grid | min_q_mvar | float64
50 | ext_grid | slack_weight | float64
51 | line | c_nf_per_km | float64
52 | line | df | float64
53 | line | from_bus | uint32
54 | line | g_us_per_km | float64
55 | line | in_service | bool
56 | line | length_km | float64
57 | line | max_i_ka | float64
58 | line | name | object
59 | line | parallel | uint32
60 | line | r_ohm_per_km | float64
61 | line | std_type | object
62 | line | to_bus | uint32
63 | line | type | object
64 | line | x_ohm_per_km | float64
65 | line | max_loading_percent | float64
66 | poly_cost | element | uint32
67 | poly_cost | et | object
68 | poly_cost | cp0_eur | float64
69 | poly_cost | cq0_eur | float64
70 | poly_cost | cq1_eur_per_mvar | float64
71 | poly_cost | cq2_eur_per_mvar2 | float64
72 | poly_cost | cp1_eur_per_mw | float64
73 | poly_cost | cp2_eur_per_mw2 | float64
74 | bus_geodata | x | float64
75 | bus_geodata | y | float64
76 | bus_geodata | coords | object
77 | res_bus | vm_pu | float64
78 | res_bus | va_degree | float64
79 | res_bus | p_mw | float64
80 | res_bus | q_mvar | float64
81 | res_bus | lam_p | float64
82 | res_bus | lam_q | float64
83 | res_line | p_from_mw | float64
84 | res_line | q_from_mvar | float64
85 | res_line | p_to_mw | float64
86 | res_line | q_to_mvar | float64
87 | res_line | pl_mw | float64
88 | res_line | ql_mvar | float64
89 | res_line | i_from_ka | float64
90 | res_line | i_to_ka | float64
91 | res_line | i_ka | float64
92 | res_line | vm_from_pu | float64
93 | res_line | va_from_degree | float64
94 | res_line | vm_to_pu | float64
95 | res_line | va_to_degree | float64
96 | res_line | loading_percent | float64
97 | res_ext_grid | p_mw | float64
98 | res_ext_grid | q_mvar | float64
99 | res_load | p_mw | float64
100 | res_load | q_mvar | float64
101 | res_shunt | p_mw | float64
102 | res_shunt | q_mvar | float64
103 | res_shunt | vm_pu | float64
104 | res_gen | p_mw | float64
105 | res_gen | q_mvar | float64
106 | res_gen | va_degree | float64
107 | res_gen | vm_pu | float64