## parameters
| version | converged | OPF_converged | name | res_cost
0 | 2.10.1 | FALSE | TRUE |  | 667.536

## bus
| in_service | max_vm_pu | min_vm_pu | name | type | vn_kv | zone
0 | TRUE | 1.05 | 0.95 | 1 | b | 135 | 1
1 | TRUE | 1.1 | 0.95 | 2 | b | 135 | 1
2 | TRUE | 1.05 | 0.95 | 3 | b | 135 | 1
3 | TRUE | 1.05 | 0.95 | 4 | b | 135 | 1
4 | TRUE | 1.05 | 0.95 | 5 | b | 135 | 1
5 | TRUE | 1.05 | 0.95 | 6 | b | 135 | 1
6 | TRUE | 1.05 | 0.95 | 7 | b | 135 | 1
7 | TRUE | 1.05 | 0.95 | 8 | b | 135 | 1
8 | TRUE | 1.05 | 0.95 | 9 | b | 135 | 1
9 | TRUE | 1.05 | 0.95 | 10 | b | 135 | 3
10 | TRUE | 1.05 | 0.95 | 11 | b | 135 | 1
11 | TRUE | 1.05 | 0.95 | 12 | b | 135 | 2
12 | TRUE | 1.1 | 0.95 | 13 | b | 135 | 2
13 | TRUE | 1.05 | 0.95 | 14 | b | 135 | 2
14 | TRUE | 1.05 | 0.95 | 15 | b | 135 | 2
15 | TRUE | 1.05 | 0.95 | 16 | b | 135 | 2
16 | TRUE | 1.05 | 0.95 | 17 | b | 135 | 2
17 | TRUE | 1.05 | 0.95 | 18 | b | 135 | 2
18 | TRUE | 1.05 | 0.95 | 19 | b | 135 | 2
19 | TRUE | 1.05 | 0.95 | 20 | b | 135 | 2
20 | TRUE | 1.05 | 0.95 | 21 | b | 135 | 3
21 | TRUE | 1.1 | 0.95 | 22 | b | 135 | 3
22 | TRUE | 1.1 | 0.95 | 23 | b | 135 | 2
23 | TRUE | 1.05 | 0.95 | 24 | b | 135 | 3
24 | TRUE | 1.05 | 0.95 | 25 | b | 135 | 3
25 | TRUE | 1.05 | 0.95 | 26 | b | 135 | 3
26 | TRUE | 1.1 | 0.95 | 27 | b | 135 | 3
27 | TRUE | 1.05 | 0.95 | 28 | b | 135 | 1
28 | TRUE | 1.05 | 0.95 | 29 | b | 135 | 3
29 | TRUE | 1.05 | 0.95 | 30 | b | 135 | 3

## load
| bus | const_i_percent | const_z_percent | controllable | in_service | name | q_mvar | scaling | sn_mva | type | p_mw
0 | 1 | 0 | 0 | FALSE | TRUE |  | 12.7 | 1 |  |  | 20.9864
1 | 2 | 0 | 0 | FALSE | TRUE |  | 1.2 | 1 |  |  | 2.3569
2 | 3 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 6.5606
3 | 6 | 0 | 0 | FALSE | TRUE |  | 10.9 | 1 |  |  | 22.8
4 | 7 | 0 | 0 | FALSE | TRUE |  | 30 | 1 |  |  | 24.0863
5 | 9 | 0 | 0 | FALSE | TRUE |  | 2 | 1 |  |  | 5.8
6 | 11 | 0 | 0 | FALSE | TRUE |  | 7.5 | 1 |  |  | 11.2
7 | 13 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 6.2
8 | 14 | 0 | 0 | FALSE | TRUE |  | 2.5 | 1 |  |  | 8.2
9 | 15 | 0 | 0 | FALSE | TRUE |  | 1.8 | 1 |  |  | 3.0849
10 | 16 | 0 | 0 | FALSE | TRUE |  | 5.8 | 1 |  |  | 9.272
11 | 17 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 3.2
12 | 18 | 0 | 0 | FALSE | TRUE |  | 3.4 | 1 |  |  | 9.376
13 | 19 | 0 | 0 | FALSE | TRUE |  | 0.7 | 1 |  |  | 1.3087
14 | 20 | 0 | 0 | FALSE | TRUE |  | 11.2 | 1 |  |  | 19.0876
15 | 22 | 0 | 0 | FALSE | TRUE |  | 1.6 | 1 |  |  | 1.9335
16 | 23 | 0 | 0 | FALSE | TRUE |  | 6.7 | 1 |  |  | 7.7997
17 | 25 | 0 | 0 | FALSE | TRUE |  | 2.3 | 1 |  |  | 3.5
18 | 28 | 0 | 0 | FALSE | TRUE |  | 0.9 | 1 |  |  | 2.4503
19 | 29 | 0 | 0 | FALSE | TRUE |  | 1.9 | 1 |  |  | 9.0636

## gen
| bus | controllable | in_service | name | scaling | sn_mva | type | vm_pu | slack | max_p_mw | max_q_mvar | min_q_mvar | slack_weight | p_mw | min_p_mw
0 | 1 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 80 | 60 | -20 | 0 | 16 | 16
1 | 21 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 50 | 62.5 | -15 | 0 | 10 | 10
2 | 26 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 55 | 48.7 | -15 | 0 | 11 | 11
3 | 22 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 30 | 40 | -10 | 0 | 6 | 6
4 | 12 | TRUE | TRUE |  | 1 |  |  | 1 | FALSE | 40 | 44.7 | -15 | 0 | 8 | 8

## shunt
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | in_service
0 | 4 |  | -0.19 | 0 | 135 | 1 | 1 | TRUE
1 | 23 |  | -0.04 | 0 | 135 | 1 | 1 | TRUE

## ext_grid
| bus | in_service | name | va_degree | vm_pu | max_p_mw | min_p_mw | max_q_mvar | min_q_mvar | slack_weight
0 | 0 | TRUE |  | 0 | 1 | 80 | 0 | 150 | -20 | 1

## line
| c_nf_per_km | df | from_bus | g_us_per_km | in_service | length_km | max_i_ka | name | parallel | r_ohm_per_km | std_type | to_bus | type | x_ohm_per_km | max_loading_percent
0 | 436.6391 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 3.645 |  | 1 | ol | 10.935 | 100
1 | 291.0927 | 1 | 0 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 2 | ol | 34.6275 | 100
2 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 3 | ol | 30.9825 | 100
3 | 0 | 1 | 2 | 0 | TRUE | 1 | 0.55597 |  | 1 | 1.8225 |  | 3 | ol | 7.29 | 100
4 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.55597 |  | 1 | 9.1125 |  | 4 | ol | 36.45 | 100
5 | 291.0927 | 1 | 1 | 0 | TRUE | 1 | 0.27798 |  | 1 | 10.935 |  | 5 | ol | 32.805 | 100
6 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.3849 |  | 1 | 1.8225 |  | 5 | ol | 7.29 | 100
7 | 145.5464 | 1 | 4 | 0 | TRUE | 1 | 0.29937 |  | 1 | 9.1125 |  | 6 | ol | 21.87 | 100
8 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.55597 |  | 1 | 5.4675 |  | 6 | ol | 14.58 | 100
9 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 7 | ol | 7.29 | 121
10 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 8 | ol | 38.2725 | 100
11 | 0 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 0 |  | 9 | ol | 102.06 | 100
12 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 10 | ol | 38.2725 | 100
13 | 0 | 1 | 8 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 9 | ol | 20.0475 | 100
14 | 0 | 1 | 3 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 11 | ol | 47.385 | 100
15 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 12 | ol | 25.515 | 100
16 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 21.87 |  | 13 | ol | 47.385 | 100
17 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 14 | ol | 23.6925 | 100
18 | 0 | 1 | 11 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 15 | ol | 36.45 | 100
19 | 0 | 1 | 13 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 14 | ol | 36.45 | 100
20 | 0 | 1 | 15 | 0 | TRUE | 1 | 0.068427 |  | 1 | 14.58 |  | 16 | ol | 34.6275 | 100
21 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 17 | ol | 40.095 | 100
22 | 0 | 1 | 17 | 0 | TRUE | 1 | 0.068427 |  | 1 | 10.935 |  | 18 | ol | 23.6925 | 100
23 | 0 | 1 | 18 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 19 | ol | 12.7575 | 100
24 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 16.4025 |  | 19 | ol | 38.2725 | 100
25 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 16 | ol | 14.58 | 100
26 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 5.4675 |  | 20 | ol | 12.7575 | 100
27 | 0 | 1 | 9 | 0 | TRUE | 1 | 0.13685 |  | 1 | 12.7575 |  | 21 | ol | 27.3375 | 100
28 | 0 | 1 | 20 | 0 | TRUE | 1 | 0.13685 |  | 1 | 1.8225 |  | 21 | ol | 3.645 | 100
29 | 0 | 1 | 14 | 0 | TRUE | 1 | 0.068427 |  | 1 | 18.225 |  | 22 | ol | 36.45 | 100
30 | 0 | 1 | 21 | 0 | TRUE | 1 | 0.068427 |  | 1 | 21.87 |  | 23 | ol | 32.805 | 100
31 | 0 | 1 | 22 | 0 | TRUE | 1 | 0.068427 |  | 1 | 23.6925 |  | 23 | ol | 49.2075 | 100
32 | 0 | 1 | 23 | 0 | TRUE | 1 | 0.068427 |  | 1 | 34.6275 |  | 24 | ol | 60.1425 | 100
33 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 45.5625 |  | 25 | ol | 69.255 | 100
34 | 0 | 1 | 24 | 0 | TRUE | 1 | 0.068427 |  | 1 | 20.0475 |  | 26 | ol | 38.2725 | 100
35 | 0 | 1 | 27 | 0 | TRUE | 1 | 0.27798 |  | 1 | 0 |  | 26 | ol | 72.9 | 100
36 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 40.095 |  | 28 | ol | 76.545 | 100
37 | 0 | 1 | 26 | 0 | TRUE | 1 | 0.068427 |  | 1 | 58.32 |  | 29 | ol | 109.35 | 100
38 | 0 | 1 | 28 | 0 | TRUE | 1 | 0.068427 |  | 1 | 43.74 |  | 29 | ol | 82.0125 | 100
39 | 291.0927 | 1 | 7 | 0 | TRUE | 1 | 0.13685 |  | 1 | 10.935 |  | 27 | ol | 36.45 | 100
40 | 145.5464 | 1 | 5 | 0 | TRUE | 1 | 0.13685 |  | 1 | 3.645 |  | 27 | ol | 10.935 | 100

## poly_cost
| element | et | cp0_eur | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 | cp1_eur_per_mw | cp2_eur_per_mw2
0 | 0 | ext_grid | 0 | 0 | 0 | 0 | 2 | 0.02
1 | 0 | gen | 0 | 0 | 0 | 0 | 1.4 | 0.014
2 | 1 | gen | 0 | 0 | 0 | 0 | 8 | 0.5
3 | 2 | gen | 0 | 0 | 0 | 0 | 1.625 | 0.00417
4 | 3 | gen | 0 | 0 | 0 | 0 | 2.7 | 0.0225
5 | 4 | gen | 0 | 0 | 0 | 0 | 18 | 0.15

## bus_geodata
| x | y | coords
0 | -1.7275 | -3.1893
1 | -0.56202 | -3.3149
10 | 1.0121 | -1.7415
11 | -0.24837 | -5.7012
12 | -1.3515 | -6.3649
13 | -0.13927 | -6.7357
14 | 0.80418 | -6.4263
15 | -0.9243 | -5.4724
16 | 0.22957 | -4.9094
17 | 1.0937 | -7.4732
18 | 1.8575 | -6.8558
19 | 1.4966 | -5.5567
2 | -1.5906 | -4.1442
20 | 1.8818 | -4.6687
21 | 2.4069 | -4.3993
22 | 2.2749 | -6.1619
23 | 3.117 | -5.1466
24 | 3.7246 | -4.0371
25 | 4.8299 | -4.2705
26 | 3.1039 | -2.8673
27 | 1.8534 | -2.8489
28 | 4.0378 | -2.2835
29 | 3.4709 | -1.7453
3 | -0.37269 | -4.2829
4 | -1.0538 | -2.2394
5 | 0.53091 | -3.4333
6 | -0.067379 | -2.3919
7 | 1.0669 | -2.4312
8 | 1.1038 | -3.1875
9 | 1.1627 | -4.2978

## line_std_types
| type | r_ohm_per_km | q_mm2 | x_ohm_per_km | c_nf_per_km | max_i_ka
NAYY 4x150 SE | cs | 0.208 | 150 | 0.08 | 261 | 0.27
70-AL1/11-ST1A 20.0 | ol | 0.4132 | 70 | 0.36 | 9.7 | 0.29
NA2XS2Y 1x70 RM/25 6/10 kV | cs | 0.443 | 70 | 0.123 | 280 | 0.217
N2XS(FL)2Y 1x300 RM/35 64/110 kV | cs | 0.06 | 300 | 0.144 | 144 | 0.588
NA2XS2Y 1x120 RM/25 6/10 kV | cs | 0.253 | 120 | 0.113 | 340 | 0.28
149-AL1/24-ST1A 10.0 | ol | 0.194 | 149 | 0.315 | 11.25 | 0.47
15-AL1/3-ST1A 0.4 | ol | 1.8769 | 16 | 0.35 | 11 | 0.105
NA2XS2Y 1x185 RM/25 6/10 kV | cs | 0.161 | 185 | 0.11 | 406 | 0.358
NA2XS2Y 1x240 RM/25 6/10 kV | cs | 0.122 | 240 | 0.105 | 456 | 0.416
N2XS(FL)2Y 1x240 RM/35 64/110 kV | cs | 0.075 | 240 | 0.149 | 135 | 0.526
NAYY 4x120 SE | cs | 0.225 | 120 | 0.08 | 264 | 0.242
48-AL1/8-ST1A 10.0 | ol | 0.5939 | 48 | 0.35 | 10.1 | 0.21
94-AL1/15-ST1A 10.0 | ol | 0.306 | 94 | 0.33 | 10.75 | 0.35
NA2XS2Y 1x70 RM/25 12/20 kV | cs | 0.443 | 70 | 0.132 | 190 | 0.22
243-AL1/39-ST1A 20.0 | ol | 0.1188 | 243 | 0.32 | 11 | 0.645
NA2XS2Y 1x150 RM/25 6/10 kV | cs | 0.206 | 150 | 0.11 | 360 | 0.315
184-AL1/30-ST1A 110.0 | ol | 0.1571 | 184 | 0.4 | 8.8 | 0.535
149-AL1/24-ST1A 110.0 | ol | 0.194 | 149 | 0.41 | 8.75 | 0.47
NA2XS2Y 1x240 RM/25 12/20 kV | cs | 0.122 | 240 | 0.112 | 304 | 0.421
122-AL1/20-ST1A 20.0 | ol | 0.2376 | 122 | 0.344 | 10.3 | 0.41
48-AL1/8-ST1A 20.0 | ol | 0.5939 | 48 | 0.372 | 9.5 | 0.21
34-AL1/6-ST1A 10.0 | ol | 0.8342 | 34 | 0.36 | 9.7 | 0.17
24-AL1/4-ST1A 0.4 | ol | 1.2012 | 24 | 0.335 | 11.25 | 0.14
184-AL1/30-ST1A 20.0 | ol | 0.1571 | 184 | 0.33 | 10.75 | 0.535
94-AL1/15-ST1A 20.0 | ol | 0.306 | 94 | 0.35 | 10 | 0.35
NAYY 4x50 SE | cs | 0.642 | 50 | 0.083 | 210 | 0.142
490-AL1/64-ST1A 380.0 | ol | 0.059 | 490 | 0.253 | 11 | 0.96
48-AL1/8-ST1A 0.4 | ol | 0.5939 | 48 | 0.3 | 12.2 | 0.21
NA2XS2Y 1x95 RM/25 6/10 kV | cs | 0.313 | 95 | 0.123 | 315 | 0.249
NA2XS2Y 1x120 RM/25 12/20 kV | cs | 0.253 | 120 | 0.119 | 230 | 0.283
34-AL1/6-ST1A 20.0 | ol | 0.8342 | 34 | 0.382 | 9.15 | 0.17
94-AL1/15-ST1A 0.4 | ol | 0.306 | 94 | 0.29 | 13.2 | 0.35
NA2XS2Y 1x185 RM/25 12/20 kV | cs | 0.161 | 185 | 0.117 | 273 | 0.362
NA2XS2Y 1x150 RM/25 12/20 kV | cs | 0.206 | 150 | 0.116 | 250 | 0.319
243-AL1/39-ST1A 110.0 | ol | 0.1188 | 243 | 0.39 | 9 | 0.645
490-AL1/64-ST1A 220.0 | ol | 0.059 | 490 | 0.285 | 10 | 0.96
N2XS(FL)2Y 1x185 RM/35 64/110 kV | cs | 0.099 | 185 | 0.156 | 125 | 0.457
N2XS(FL)2Y 1x120 RM/35 64/110 kV | cs | 0.153 | 120 | 0.166 | 112 | 0.366
NA2XS2Y 1x95 RM/25 12/20 kV | cs | 0.313 | 95 | 0.132 | 216 | 0.252
122-AL1/20-ST1A 10.0 | ol | 0.2376 | 122 | 0.323 | 11.1 | 0.41
149-AL1/24-ST1A 20.0 | ol | 0.194 | 149 | 0.337 | 10.5 | 0.47
70-AL1/11-ST1A 10.0 | ol | 0.4132 | 70 | 0.339 | 10.4 | 0.29
305-AL1/39-ST1A 110.0 | ol | 0.0949 | 305 | 0.38 | 9.2 | 0.74

## trafo_std_types
| shift_degree | vector_group | vn_hv_kv | pfe_kw | i0_percent | vn_lv_kv | sn_mva | tap_step_degree | tap_neutral | tap_min | vkr_percent | tap_step_percent | tap_side | tap_phase_shifter | tap_max | vk_percent
0.4 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.35 | 0.3375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.425 | 2.5 | hv | FALSE | 2 | 6
63 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 33 | 0.086 | 20 | 63 | 0 | 0 | -9 | 0.322 | 1.5 | hv | FALSE | 9 | 11.2
63 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 31.51 | 0.078 | 10 | 63 | 0 | 0 | -9 | 0.31 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 29 | 0.071 | 20 | 25 | 0 | 0 | -9 | 0.282 | 1.5 | hv | FALSE | 9 | 11.2
40 MVA 110/20 kV v1.4.3 and older | 150 | YNd5 | 110 | 31 | 0.08 | 20 | 40 | 0 | 0 | -9 | 0.302 | 1.5 | hv | FALSE | 9 | 11.2
0.25 MVA 20/0.4 kV | 150 | Yzn5 | 20 | 0.8 | 0.32 | 0.4 | 0.25 | 0 | 0 | -2 | 1.44 | 2.5 | hv | FALSE | 2 | 6
25 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 28.51 | 0.073 | 10 | 25 | 0 | 0 | -9 | 0.276 | 1.5 | hv | FALSE | 9 | 10.04
0.25 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.6 | 0.24 | 0.4 | 0.25 | 0 | 0 | -2 | 1.2 | 2.5 | hv | FALSE | 2 | 4
160 MVA 380/110 kV | 0 | Yy0 | 380 | 60 | 0.06 | 110 | 160 | 0 | 0 | -9 | 0.25 | 1.5 | hv | FALSE | 9 | 12.2
63 MVA 110/10 kV | 150 | YNd5 | 110 | 22 | 0.04 | 10 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
0.63 MVA 20/0.4 kV | 150 | Dyn5 | 20 | 1.65 | 0.2619 | 0.4 | 0.63 | 0 | 0 | -2 | 1.206 | 2.5 | hv | FALSE | 2 | 6
0.4 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 0.95 | 0.2375 | 0.4 | 0.4 | 0 | 0 | -2 | 1.325 | 2.5 | hv | FALSE | 2 | 4
0.63 MVA 10/0.4 kV | 150 | Dyn5 | 10 | 1.18 | 0.1873 | 0.4 | 0.63 | 0 | 0 | -2 | 1.0794 | 2.5 | hv | FALSE | 2 | 4
63 MVA 110/20 kV | 150 | YNd5 | 110 | 22 | 0.04 | 20 | 63 | 0 | 0 | -9 | 0.32 | 1.5 | hv | FALSE | 9 | 18
100 MVA 220/110 kV | 0 | Yy0 | 220 | 55 | 0.06 | 110 | 100 | 0 | 0 | -9 | 0.26 | 1.5 | hv | FALSE | 9 | 12
25 MVA 110/10 kV | 150 | YNd5 | 110 | 14 | 0.07 | 10 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/20 kV | 150 | YNd5 | 110 | 18 | 0.05 | 20 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2
40 MVA 110/10 kV v1.4.3 and older | 150 | YNd5 | 110 | 30.45 | 0.076 | 10 | 40 | 0 | 0 | -9 | 0.295 | 1.5 | hv | FALSE | 9 | 10.04
25 MVA 110/20 kV | 150 | YNd5 | 110 | 14 | 0.07 | 20 | 25 | 0 | 0 | -9 | 0.41 | 1.5 | hv | FALSE | 9 | 12
40 MVA 110/10 kV | 150 | YNd5 | 110 | 18 | 0.05 | 10 | 40 | 0 | 0 | -9 | 0.34 | 1.5 | hv | FALSE | 9 | 16.2

## trafo3w_std_types
| vector_group | vn_mv_kv | vn_lv_kv | shift_lv_degree | shift_mv_degree | pfe_kw | vn_hv_kv | i0_percent | sn_lv_mva | sn_hv_mva | sn_mv_mva | vkr_lv_percent | tap_neutral | tap_min | vk_mv_percent | vkr_hv_percent | vk_lv_percent | tap_max | vkr_mv_percent | tap_step_percent | tap_side | vk_hv_percent
63/25/38 MVA 110/10/10 kV | YN0yn0yn0 | 10 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4
63/25/38 MVA 110/20/10 kV | YN0yn0yn0 | 20 | 10 | 0 | 0 | 35 | 110 | 0.89 | 38 | 63 | 25 | 0.35 | 0 | -10 | 10.4 | 0.28 | 10.4 | 10 | 0.32 | 1.2 | hv | 10.4

## res_bus
| vm_pu | va_degree | p_mw | q_mvar | lam_p | lam_q
0 | 1 | 0 | -29.8422 | 19.9998 | 3.1937 | -0.0077059
1 | 1.0059 | -0.54626 | -43.6128 | -7.9241 | 3.2088 | 1.2585e-09
2 | 0.99884 | -2.117 | 2.3569 | 1.2 | 3.2845 | 0.0073699
3 | 0.99917 | -2.5086 | 6.5606 | 1.6 | 3.3014 | 0.0098006
4 | 0.99623 | -2.1328 | 0 | -0.18857 | 3.2509 | 0.021201
5 | 0.99458 | -2.7625 | 0 | 0 | 3.2781 | 0.031422
6 | 0.9859 | -3.0421 | 22.8 | 10.9 | 3.2976 | 0.040549
7 | 0.98361 | -3.0361 | 24.0863 | 30 | 3.267 | 0.055097
8 | 1.0147 | -4.1688 | 0 | 0 | 3.5318 | 0.066463
9 | 1.0255 | -4.8832 | 5.8 | 2 | 3.6613 | 0.079482
10 | 1.0147 | -4.1688 | 0 | 0 | 3.5318 | 0.066463
11 | 1.0437 | -4.7024 | 11.2 | 7.5 | 3.5568 | 0.027704
12 | 1.1 | -4.1434 | -8 | -44.2655 | 3.5565 | 4.6169e-06
13 | 1.0308 | -5.0406 | 6.2 | 1.6 | 3.6448 | 0.043099
14 | 1.0323 | -4.5985 | 8.2 | 2.5 | 3.6588 | 0.034372
15 | 1.0292 | -5.041 | 3.0849 | 1.8 | 3.6216 | 0.062209
16 | 1.0214 | -5.1439 | 9.272 | 5.8 | 3.6646 | 0.083717
17 | 1.0178 | -5.3678 | 3.2 | 0.9 | 3.7116 | 0.069548
18 | 1.0127 | -5.6376 | 9.376 | 3.4 | 3.7265 | 0.084908
19 | 1.0152 | -5.4766 | 1.3087 | 0.7 | 3.7123 | 0.084896
20 | 1.0342 | -5.1542 | 19.0876 | 11.2 | 3.7507 | 0.026053
21 | 1.0407 | -5.0971 | -10 | -46.4194 | 3.7627 | 6.2321e-08
22 | 1.0403 | -2.7136 | -21.15 | 2.651 | 3.7388 | -1.2351e-07
23 | 1.0317 | -3.4096 | 7.7997 | 6.6574 | 4.0438 | -0.067383
24 | 1.0382 | -0.63158 | 0 | 0 | 4.8694 | -0.31248
25 | 1.0211 | -1.0396 | 3.5 | 2.3 | 4.9441 | -0.26264
26 | 1.0509 | 1.3292 | -45.8458 | -14.8456 | 2.0074 | -5.4686e-09
27 | 1.0008 | -2.4742 | 0 | 0 | 3.1232 | 0.070144
28 | 1.033 | 0.28701 | 2.4503 | 0.9 | 2.0537 | 0.013733
29 | 1.0235 | -0.37553 | 9.0636 | 1.9 | 2.0828 | 0.019324

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 11.4415 | -15.1279 | -11.3782 | 12.3 | 0.063325 | -2.8279 | 0.081117 | 0.071236 | 0.081117 | 1 | 0 | 1.0059 | -0.54626 | 14.5903
1 | 18.4007 | -4.872 | -18.2239 | 3.5461 | 0.17679 | -1.3259 | 0.081405 | 0.079492 | 0.081405 | 1 | 0 | 0.99884 | -2.117 | 14.6421
2 | 19.3674 | -3.5003 | -19.1413 | 2.1306 | 0.22608 | -1.3697 | 0.083673 | 0.082435 | 0.083673 | 1.0059 | -0.54626 | 0.99917 | -2.5086 | 30.1001
3 | 15.8669 | -4.7461 | -15.8394 | 4.856 | 0.027492 | 0.10997 | 0.070911 | 0.070911 | 0.070911 | 0.99884 | -2.117 | 0.99917 | -2.5086 | 12.7545
4 | 14.2504 | 0.49902 | -14.149 | -2.0975 | 0.10147 | -1.5985 | 0.060622 | 0.061403 | 0.061403 | 1.0059 | -0.54626 | 0.99623 | -2.1328 | 11.0444
5 | 21.3732 | -1.3746 | -21.1022 | 0.1863 | 0.27094 | -1.1883 | 0.091054 | 0.090743 | 0.091054 | 1.0059 | -0.54626 | 0.99458 | -2.7625 | 32.7554
6 | 13.0667 | 8.2352 | -13.0428 | -8.1397 | 0.023895 | 0.095581 | 0.066109 | 0.066109 | 0.066109 | 0.99917 | -2.5086 | 0.99458 | -2.7625 | 17.1757
7 | 14.149 | 2.2861 | -14.0442 | -3.0169 | 0.10476 | -0.73082 | 0.061527 | 0.062311 | 0.062311 | 0.99623 | -2.1328 | 0.9859 | -3.0421 | 20.8143
8 | 8.7963 | 7.0106 | -8.7558 | -7.8831 | 0.04055 | -0.87246 | 0.048368 | 0.051107 | 0.051107 | 0.99458 | -2.7625 | 0.9859 | -3.0421 | 9.1924
9 | 17.4194 | 22.9564 | -17.3355 | -22.6206 | 0.083951 | 0.33581 | 0.12391 | 0.12391 | 0.12391 | 0.99458 | -2.7625 | 0.98361 | -3.0361 | 90.5448
10 | 11.7945 | -9.3843 | -11.7945 | 9.8666 | 0 | 0.48228 | 0.064811 | 0.064811 | 0.064811 | 0.99458 | -2.7625 | 1.0147 | -4.1688 | 23.3146
11 | 6.7397 | -5.3624 | -6.7397 | 5.7824 | 0 | 0.41995 | 0.037035 | 0.037035 | 0.037035 | 0.99458 | -2.7625 | 1.0255 | -4.8832 | 27.0616
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0147 | -4.1688 | 1.0147 | -4.1688 | 0
13 | 11.7945 | -9.8666 | -11.7945 | 10.1192 | 1.7764e-15 | 0.25262 | 0.064811 | 0.064811 | 0.064811 | 1.0147 | -4.1688 | 1.0255 | -4.8832 | 23.3146
14 | 15.3535 | -16.8219 | -15.3535 | 18.1728 | 3.5527e-15 | 1.3509 | 0.097482 | 0.097482 | 0.097482 | 0.99917 | -2.5086 | 1.0437 | -4.7024 | 35.0676
15 | -8 | -41.9244 | 8 | 44.2655 | 0 | 2.3412 | 0.17489 | 0.17489 | 0.17489 | 1.0437 | -4.7024 | 1.1 | -4.1434 | 62.9128
16 | 3.9953 | 3.3647 | -3.9652 | -3.2995 | 0.030055 | 0.065119 | 0.021403 | 0.021403 | 0.021403 | 1.0437 | -4.7024 | 1.0308 | -5.0406 | 15.6393
17 | 2.6751 | 7.7572 | -2.6319 | -7.6769 | 0.043266 | 0.080352 | 0.033623 | 0.033623 | 0.033623 | 1.0437 | -4.7024 | 1.0323 | -4.5985 | 24.5684
18 | 5.4831 | 5.1297 | -5.4365 | -5.0262 | 0.046579 | 0.10351 | 0.030767 | 0.030767 | 0.030767 | 1.0437 | -4.7024 | 1.0292 | -5.041 | 22.4814
19 | -2.2348 | 1.6995 | 2.2511 | -1.6847 | 0.016322 | 0.014839 | 0.011649 | 0.011649 | 0.011649 | 1.0308 | -5.0406 | 1.0323 | -4.5985 | 17.024
20 | 2.3516 | 3.2262 | -2.3395 | -3.1976 | 0.012038 | 0.02859 | 0.01659 | 0.01659 | 0.01659 | 1.0292 | -5.041 | 1.0214 | -5.1439 | 24.2445
21 | 7.861 | 2.8985 | -7.7885 | -2.7536 | 0.072465 | 0.14493 | 0.034712 | 0.034712 | 0.034712 | 1.0323 | -4.5985 | 1.0178 | -5.3678 | 50.7281
22 | 4.5885 | 1.8536 | -4.5743 | -1.8228 | 0.014185 | 0.030734 | 0.020794 | 0.020794 | 0.020794 | 1.0178 | -5.3678 | 1.0127 | -5.6376 | 30.3889
23 | -4.8017 | -1.5772 | 4.8092 | 1.5946 | 0.0074717 | 0.017434 | 0.021343 | 0.021343 | 0.021343 | 1.0127 | -5.6376 | 1.0152 | -5.4766 | 15.5955
24 | 6.1552 | 2.3816 | -6.1179 | -2.2946 | 0.037279 | 0.086984 | 0.027524 | 0.027524 | 0.027524 | 1.0255 | -4.8832 | 1.0152 | -5.4766 | 20.1123
25 | 6.9482 | 2.6444 | -6.9325 | -2.6024 | 0.015768 | 0.042047 | 0.031005 | 0.031005 | 0.031005 | 1.0255 | -4.8832 | 1.0214 | -5.1439 | 22.6555
26 | 1.4327 | -13.3748 | -1.3811 | 13.4952 | 0.051618 | 0.12044 | 0.056098 | 0.056098 | 0.056098 | 1.0255 | -4.8832 | 1.0342 | -5.1542 | 40.9911
27 | -1.8019 | -9.5528 | 1.8648 | 9.6876 | 0.062906 | 0.1348 | 0.040542 | 0.040542 | 0.040542 | 1.0255 | -4.8832 | 1.0407 | -5.0971 | 29.6243
28 | -17.7065 | -24.6952 | 17.7928 | 24.8679 | 0.086332 | 0.17266 | 0.12566 | 0.12566 | 0.12566 | 1.0342 | -5.1542 | 1.0407 | -5.0971 | 91.8196
29 | -15.6802 | 3.9631 | 15.9257 | -3.4721 | 0.24548 | 0.49096 | 0.067006 | 0.067006 | 0.067006 | 1.0323 | -4.5985 | 1.0403 | -2.7136 | 97.9241
30 | -9.6576 | 11.8639 | 9.9169 | -11.4749 | 0.2593 | 0.38895 | 0.062866 | 0.062866 | 0.062866 | 1.0407 | -5.0971 | 1.0317 | -3.4096 | 91.8732
31 | 5.2244 | 0.82113 | -5.1908 | -0.75136 | 0.033594 | 0.069772 | 0.02174 | 0.02174 | 0.02174 | 1.0403 | -2.7136 | 1.0317 | -3.4096 | 31.7716
32 | -12.5258 | 5.5689 | 12.8612 | -4.9864 | 0.33539 | 0.58252 | 0.056821 | 0.056821 | 0.056821 | 1.0317 | -3.4096 | 1.0382 | -0.63158 | 83.0385
33 | 3.5421 | 2.3639 | -3.5 | -2.3 | 0.042059 | 0.06393 | 0.017541 | 0.017541 | 0.017541 | 1.0382 | -0.63158 | 1.0211 | -1.0396 | 25.6354
34 | -16.4033 | 2.6224 | 16.6849 | -2.0848 | 0.2816 | 0.5376 | 0.068427 | 0.068427 | 0.068427 | 1.0382 | -0.63158 | 1.0509 | 1.3292 | 100
35 | -17.4416 | -11.9571 | 17.4416 | 13.7429 | 3.5527e-15 | 1.7858 | 0.090364 | 0.090364 | 0.090364 | 1.0008 | -2.4742 | 1.0509 | 1.3292 | 32.507
36 | 5.5441 | 1.6087 | -5.4777 | -1.482 | 0.066384 | 0.12673 | 0.023492 | 0.023492 | 0.023492 | 1.0509 | 1.3292 | 1.033 | 0.28701 | 34.3321
37 | 6.1753 | 1.5788 | -6.0576 | -1.3581 | 0.11771 | 0.22071 | 0.025938 | 0.025938 | 0.025938 | 1.0509 | 1.3292 | 1.0235 | -0.37553 | 37.9069
38 | 3.0274 | 0.58197 | -3.006 | -0.54189 | 0.021373 | 0.040075 | 0.012763 | 0.012763 | 0.012763 | 1.033 | 0.28701 | 1.0235 | -0.37553 | 18.6514
39 | -6.7508 | -7.3794 | 6.8046 | 5.5895 | 0.05376 | -1.7899 | 0.043486 | 0.03763 | 0.043486 | 0.98361 | -3.0361 | 1.0008 | -2.4742 | 31.7754
40 | -10.605 | -7.267 | 10.637 | 6.3676 | 0.032012 | -0.89937 | 0.05528 | 0.052976 | 0.05528 | 0.99458 | -2.7625 | 1.0008 | -2.4742 | 40.3937

## res_ext_grid
| p_mw | q_mvar
0 | 29.8422 | -19.9998

## res_load
| p_mw | q_mvar
0 | 20.9864 | 12.7
1 | 2.3569 | 1.2
2 | 6.5606 | 1.6
3 | 22.8 | 10.9
4 | 24.0863 | 30
5 | 5.8 | 2
6 | 11.2 | 7.5
7 | 6.2 | 1.6
8 | 8.2 | 2.5
9 | 3.0849 | 1.8
10 | 9.272 | 5.8
11 | 3.2 | 0.9
12 | 9.376 | 3.4
13 | 1.3087 | 0.7
14 | 19.0876 | 11.2
15 | 1.9335 | 1.6
16 | 7.7997 | 6.7
17 | 3.5 | 2.3
18 | 2.4503 | 0.9
19 | 9.0636 | 1.9

## res_shunt
| p_mw | q_mvar | vm_pu
0 | 0 | -0.18857 | 0.99623
1 | 0 | -0.04258 | 1.0317

## res_gen
| p_mw | q_mvar | va_degree | vm_pu
0 | 64.5992 | 20.6241 | -0.54626 | 1.0059
1 | 10 | 46.4194 | -5.0971 | 1.0407
2 | 45.8458 | 14.8456 | 1.3292 | 1.0509
3 | 23.0835 | -1.051 | -2.7136 | 1.0403
4 | 8 | 44.2655 | -4.1434 | 1.1

## dtypes
| element | column | dtype
0 | bus | in_service | bool
1 | bus | max_vm_pu | float64
2 | bus | min_vm_pu | float64
3 | bus | name | object
4 | bus | type | object
5 | bus | vn_kv | float64
6 | bus | zone | object
7 | load | bus | uint32
8 | load | const_i_percent | float64
9 | load | const_z_percent | float64
10 | load | controllable | bool
11 | load | in_service | bool
12 | load | name | object
13 | load | q_mvar | float64
14 | load | scaling | float64
15 | load | sn_mva | float64
16 | load | type | object
17 | load | p_mw | float64
18 | gen | bus | uint32
19 | gen | controllable | bool
20 | gen | in_service | bool
21 | gen | name | object
22 | gen | scaling | float64
23 | gen | sn_mva | float64
24 | gen | type | object
25 | gen | vm_pu | float64
26 | gen | slack | bool
27 | gen | max_p_mw | float64
28 | gen | max_q_mvar | float64
29 | gen | min_q_mvar | float64
30 | gen | slack_weight | float64
31 | gen | p_mw | float64
32 | gen | min_p_mw | float64
33 | shunt | bus | uint32
34 | shunt | name | object
35 | shunt | q_mvar | float64
36 | shunt | p_mw | float64
37 | shunt | vn_kv | float64
38 | shunt | step | uint32
39 | shunt | max_step | uint32
40 | shunt | in_service | bool
41 | ext_grid | bus | uint32
42 | ext_grid | in_service | bool
43 | ext_grid | name | object
44 | ext_grid | va_degree | float64
45 | ext_grid | vm_pu | float64
46 | ext_grid | max_p_mw | float64
47 | ext_grid | min_p_mw | float64
48 | ext_grid | max_q_mvar | float64
49 | ext_grid | min_q_mvar | float64
50 | ext_grid | slack_weight | float64
51 | line | c_nf_per_km | float64
52 | line | df | float64
53 | line | from_bus | uint32
54 | line | g_us_per_km | float64
55 | line | in_service | bool
56 | line | length_km | float64
57 | line | max_i_ka | float64
58 | line | name | object
59 | line | parallel | uint32
60 | line | r_ohm_per_km | float64
61 | line | std_type | object
62 | line | to_bus | uint32
63 | line | type | object
64 | line | x_ohm_per_km | float64
65 | line | max_loading_percent | float64
66 | poly_cost | element | uint32
67 | poly_cost | et | object
68 | poly_cost | cp0_eur | float64
69 | poly_cost | cq0_eur | float64
70 | poly_cost | cq1_eur_per_mvar | float64
71 | poly_cost | cq2_eur_per_mvar2 | float64
72 | poly_cost | cp1_eur_per_mw | float64
73 | poly_cost | cp2_eur_per_mw2 | float64
74 | bus_geodata | x | float64
75 | bus_geodata | y | float64
76 | bus_geodata | coords | object
77 | res_bus | vm_pu | float64
78 | res_bus | va_degree | float64
79 | res_bus | p_mw | float64
80 | res_bus | q_mvar | float64
81 | res_bus | lam_p | float64
82 | res_bus | lam_q | float64
83 | res_line | p_from_mw | float64
84 | res_line | q_from_mvar | float64
85 | res_line | p_to_mw | float64
86 | res_line | q_to_mvar | float64
87 | res_line | pl_mw | float64
88 | res_line | ql_mvar | float64
89 | res_line | i_from_ka | float64
90 | res_line | i_to_ka | float64
91 | res_line | i_ka | float64
92 | res_line | vm_from_pu | float64
93 | res_line | va_from_degree | float64
94 | res_line | vm_to_pu | float64
95 | res_line | va_to_degree | float64
96 | res_line | loading_percent | float64
97 | res_ext_grid | p_mw | float64
98 | res_ext_grid | q_mvar | float64
99 | res_load | p_mw | float64
100 | res_load | q_mvar | float64
101 | res_shunt | p_mw | float64
102 | res_shunt | q_mvar | float64
103 | res_shunt | vm_pu | float64
104 | res_gen | p_mw | float64
105 | res_gen | q_mvar | float64
106 | res_gen | va_degree | float64
107 | res_gen | vm_pu | float64